## Legend (hidden)
| Scope Code |  | Unit Code |  | Package code
BE | Basic Engineering | CUS | Customer | 1 | Steam , Generator package
DE | Detailed Engineering | HPEP | BHEL Hyd | 2 | Steam Turbine package
|  | BHEL T | BHEL Trichy Main plant BHEL T Valves division | 3 | GTG Package
|  | Bhopal | BHEL Bhopal | 4 | Heat Exchanger package
|  | PE&SD | PE&SD-BHEL Hyd | 5 | Material Handling package
|  | BAP | BAP Ranipet | 6 | piping
|  | ISG | ISG Bangalore | 7 | Valves
|  | PC | Piping Center Chennai | 8 | Balance of Plant Equipment
|  | RU | Respective unit
|  | EDN | BHEL EDN
|  | PS | Power Sector
Notes
1 | All civil inputs and specific requirement to be furnished by units to PE&SD
2 | For engineering interferences refer separate document.
3 | For terminal point among units refer separate document.
4 | Final scope matrix to be issued by PE&SD
5 | TBG, Bhopal, Jhansi will be involved once PE&SD issues final scope matrix.
6 | All civil works including Buildings, foundations, roads, paving, drainage & other facilities in Switchyard area & Material handling area are in TBG & ISG scope respectively.

## Scope Matrix
ANNEXURE I to PY-51618 BROAD SCOPE OF WORK DIVISION
Tender Name: NTPC-EDMC, 2x300TPD WtE Plant, Delhi, India
Document Name: Broad Scope Division between BHEL and Waste-to-Energy (WtE) Boiler vendor
Document Originator: BHEL, PESD Hyderabad, India
Sl. No | Item Description | Discipline | Basic Engineering / Design Inputs | Detailed Engineering | Supply | Erection &Commissioning E&C) | Supervision of E&C | Civil foundation Input | Civil foundation Design | Civil foundation Works | Remarks
1 | Complete Grate Fired Boiler with combustion control and monitoring system | Boiler & Aux. | WtE boiler vendor | WtE boiler vendor | WtE boiler vendor | BHEL | WtE boiler vendor | WtE boiler vendor | BHEL | BHEL
2 | All Boiler auxiliaries including PA Fans (FD Fans as applicable), SA Fans, ID Fans, Air preheater, air & flue gas ducts upto inlet of stack, soot blowers, etc | Boiler & Aux. | WtE boiler vendor | WtE boiler vendor | WtE boiler vendor | BHEL | WtE boiler vendor | WtE boiler vendor | BHEL | BHEL | Supply of Stack is in BHEL's scope
3 | Stack / Chimney |  | WtE boiler vendor | BHEL | BHEL | BHEL | BHEL | BHEL | BHEL | BHEL | All necessary inputs shall be provided by WtE boiler vendor to BHEL.
4 | RDF storage & handling system, including storage pit, Grab crane, unloading facilities etc |  | WtE boiler vendor | BHEL | BHEL | BHEL | BHEL | BHEL | BHEL | BHEL | All necessary inputs shall be provided by WtE boiler vendor to BHEL.
5 | All systems/equipment required for flue gas treatment / cleaning system, with fabric bag filter/ ESP for meeting the emission norms. | Boiler & Aux. | WtE boiler vendor | WtE boiler vendor | WtE boiler vendor | BHEL | WtE boiler vendor | WtE boiler vendor | BHEL | BHEL
6 | Complete bottom and fly ash handling system | Boiler & Aux. | WtE boiler vendor | WtE boiler vendor | WtE boiler vendor | BHEL | WtE boiler vendor | WtE boiler vendor | BHEL | BHEL
7 | Complete Boiler Blow down system | Boiler & Aux. | WtE boiler vendor | WtE boiler vendor | WtE boiler vendor | BHEL | WtE boiler vendor | WtE boiler vendor | BHEL | BHEL
8 | HP Chemical dosing system for Boielr drum | Boiler & Aux. | WtE boiler vendor | WtE boiler vendor | WtE boiler vendor | BHEL | WtE boiler vendor | WtE boiler vendor | BHEL | BHEL
9 | Dedicated control system for boiler along with necessary field instrumentation, cables upto & including Junction Box (JB) | Boiler & Aux. | WtE boiler vendor | WtE boiler vendor | WtE boiler vendor | BHEL | WtE boiler vendor | WtE boiler vendor | BHEL | BHEL
10 | All utilities like DM water, Compressed Air, start up fuel, Potable water,Chemical required for flue gas treatment, complete electrical system for Boiler, MCC, DC power, Cable , Fire protection System, AC Ventilation, Control Cable from JB to DCS |  | WtE boiler vendor | BHEL | BHEL | BHEL | BHEL | BHEL | BHEL | BHEL | All necessary inputs shall be provided by WtE boiler vendor to BHEL.
11 | Commissioning,Recommended, Essential (Mandatory Spares), O&M Spares, as applicable | Boiler & Aux. | Respective agency | Respective agency | Respective agency | -- | -- | -- | -- | --

## Electrical (hidden)
Electrical
Sl. No | Item Description | Discipline | BE | DE | Supply | E&C | Sup of E&C | Civil foundation Input | Civil foundation Design | Civil foundation Works | Remarks
1 | Generator and its auxiliaries | Electrical | HPEP | HPEP | HPEP | PS | PS | HPEP | PE&SD | PS
2 | Generator Control Panel (GCP) | Electrical | HPEP | EDN | EDN | PS | PS | EDN | PE&SD | PS | GCP of generator shall also cater to controls of Generator transformer as well as Unit auxiliary transformer.
3 | Generator Relay Panel (GRP) for Generator, Generator transformer & UAT protections | Electrical | HPEP | Bhopal | Bhopal | PS | PS | Bhopal | PE&SD | PS | GRP for generator shall also cater to protections of Generator transformer as well as Unit auxiliary transformer.
4 | Automatic Voltage Regulation (AVR) | Electrical | HPEP/EDN | EDN | EDN | PS | PS | HPEP/EDN | PE&SD | PS
5 | Generator Lightining Arrestor & Potential Transformer (LAPT) cubicles | Electrical | HPEP | Rudrapur | Rudrapur | PS | PS | Rudrapur | PE&SD | PS
6 | NGT/NGR for Generator neutral earthing | Electrical | HPEP | Rudrapur | Rudrapur | PS | PS | Rudrapur | PE&SD | PS
7 | Data concentrator, HMI (human machine interface) GPS (Global positioning system) for all generator relays | Electrical | Bhopal | Bhopal | Bhopal | PS | PS | Bhopal | PE&SD | PS
8 | Generator Circuit Breaker | Electrical | HPEP | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS
9 | Generator Isolated / Segregated Phase Bus duct (IPBB/SPBD) | Electrical | HPEP | Rudrapur | Rudrapur | PS | PS | Rudrapur | PE&SD | PS | PE&SD shall furnish route length to Rudrapur. All other technical details shall be obtained from HPEP.
10 | 132kV switchyard package including SCADA, PLCC, OH line/Cable, bay control and relay panels etc., | Electrical | TBG | TBG | TBG | TBG/PS | TBG/PS | TBG | TBG | TBG/PS | SCADA system scope shall be finalised between EDN & TBG and the final decision shall be informed to IS/PESD. Erection scope shall be decided between TBG & PS Terminal point between PESD & TBG shall be at the (i) HV side terminals of Generator Transformer and Station Transformer (ii) at the incoming terminals of switchyard 415V DB.
11 | Terminal connector (HV side of transformer- GT, ST, ETC) | Electrical | TBG | TBG | TBG | TBG/PS | TBG/PS
12 | Switchyard LT aux transformer (if applicable) | Electrical | TBG | TBG | TBG | TBG/PS | TBG/PS | TBG | TBG | TBG/PS | TBG shall inform the requirement to PESD so that PESD shall arrange 6.6kV feeder for TBGs use. Other wise LT feeder shall be provided. TBG shall furnish suitable input to PESD.
13 | HT cables including kits for switchyard LT aux transformer | Electrical | TBG | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS | HT Cable (6.6kv/11kv/33kv), HT cable termination kit & accessories between Plant HT Board & HT Bushing of transformer will be by PE&SD
14 | LT switch gear for switchyard | Electrical | TBG | TBG | TBG | TBG/PS | TBG/PS | TBG | TBG | TBG/PS | TBG shall provide the load & feeder requirement to PESD.
15 | DC system including DCDB for switchyard | Electrical | TBG | TBG | TBG | TBG/PS | TBG/PS | TBG | TBG | TBG/PS | DC Power requirement of switchyard to be arranged by TBG only. No interface in envisaged with PE&SD
16 | Insulating mats in switchyard switchgear building | Electrical | TBG | TBG | TBG | TBG/PS | TBG/PS | TBG | TBG | TBG/PS
17 | Lightning protection package for switchyard | Electrical | TBG | TBG | TBG | TBG/PS | TBG/PS | TBG | TBG | TBG/PS
18 | Illumination package including lighting transformers MLDB, ELDB etc., as required for Switchyard | Electrical | TBG | TBG | TBG | TBG/PS | TBG/PS | TBG | TBG | TBG/PS
19 | Insulation co-ordination study | Electrical | TBG | TBG | TBG | TBG/PS | TBG/PS | TBG | TBG | TBG/PS | Inputs related to Power plant network shall be furnished by PESD.
20 | Generator Transformer | Electrical | PE&SD | Jhansi | Jhansi | PS | PS | Jhansi | PE&SD | PS
21 | Station Transformers (STs) & Unit auxiliary transformer (UATs) | Electrical | PE&SD | Jhansi | Jhansi | PS | PS | Jhansi | PE&SD | PS
22 | HT switch gear (6.6kV) and Data concentrators for power plant | Electrical | PE&SD | Bhopal | Bhopal | PS | PS | Bhopal | PE&SD | PS
23 | HT switch gear (6.6kV) for material handling | Electrical | ISG | Bhopal | Bhopal | ISG | ISG | Bhopal | ISG | ISG
24 | 6.6 kV busduct | Electrical | PE&SD | Rudrapur | Rudrapur | PS | PS | Rudrapur | PE&SD | PS
25 | 6.6kV cable between Power plant 6.6kV Switchgear and CHP 6.6kV Switchgear | Electrical | PE&SD | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS | TBG shall indicate the location of CHP area 6.6kV switchgear so that route length can be arrived by PESD
26 | LT busduct | Electrical | PE&SD | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS | Supply of bus duct / LT transformers by PESD or ISG Shall be decided by PESD on project to project basis based on ISGs loads and layout requirements.
27 | LT busduct from CHP & AHP | Electrical | ISG | ISG | ISG | ISG | ISG | ISG | ISG | ISG | Supply of bus duct / LT transformers by PESD or ISG Shall be decided by PESD on project to project basis based on ISGs loads and layout requirements.
28 | LT Diesel Generator set | Electrical | PE&SD | ISG | ISG | PS | PS | ISG | PE&SD | PS
29 | LT Distribution Transformers (Oil type) for power plant area | Electrical | PE&SD | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS | ESP rectifier Transformer shall be by Jhansi, Inputs to Jhansi will be furnished by Ranipet
30 | LT Distribution Transformers (Oil type) for material handling area | Electrical | ISG | ISG | ISG | ISG | ISG | ISG | ISG | ISG
31 | LT Distribution Transformers (Dry type) for power plant area | Electrical | PE&SD | Jhansi | Jhansi | PS | PS | Jhansi | PE&SD | PS | ESP rectifier Transformer shall be by Jhansi, Inputs to Jhansi will be furnished by Ranipet
32 | LT Distribution Transformers (Oil type) for material handling area | Electrical | ISG | Jhansi | Jhansi | ISG | ISG | Jhansi | ISG | ISG
33 | Neutral Grounding Resistor (NGR) for UAT & ST | Electrical | PE&SD | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS
34 | LT/HT Variable Frequency Drives (VFDs) other than VFDs which all integral part of packages | Electrical | RU | EDN | EDN | PS | PS | EDN | PE&SD | PS
35 | Complete electricals (MCCs, DC system, DCDB & downward cabling etc.) for water systems (Raw water treatment, DM/RO, sewerage treatment plant etc.) | Electrical | BAP | BAP | BAP | PS | PS | PE&SD | PE&SD | PS
36 | LT switch gear except for ISG,BAP & TBG portion | Electrical | RU | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS
37 | LT switch gear except for ISG portion | Electrical | ISG | ISG | ISG | ISG | ISG | ISG | ISG | ISG
38 | ESP MCC | Electrical | BAP | BAP | BAP | PS | PS | PE&SD | PE&SD | PS | BAP to furnish their load requirement to PESD
39 | UPS system and UPSDB | Electrical | RU | EDN | EDN | PS | PS | EDN | PE&SD | PS | EDN to furnish selected rating of UPS and Other details like GA of UPS system, Battery dimesions etc.,.
40 | UPS system and UPSDB for CHP & AHP | Electrical | ISG | EDN | EDN | PS | PS | EDN | PE&SD | PS | EDN to furnish GA of UPS system, Battery dimesions etc.,.to PESD if the same have to be located in Powerplant switchgear/control room
41 | Station DC system and DCDB | Electrical | PE&SD | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS
42 | DC system and DCDB for CHP & AHP | Electrical | ISG | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS
43 | 24V DC system | Electrical | RU | EDN | EDN | PS | PS | EDN | PE&SD | PS
44 | Cable tray package including structural steels for supports | Electrical | RU | PE&SD/ISG | PE&SD/ISG | PS | PS | PE&SD | PE&SD | PS | BOQ shall be furnished to PESD by all units
45 | Complete Earthing Package below & above ground for all units | Electrical | RU | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS | BOQ shall be furnished to PESD by all units
46 | Complete Lightning protection Package below & above ground for all units except for switchyard | Electrical | RU | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS | BOQ shall be furnished to PESD by all units
47 | Illumination package for complete plant except switchyard | Electrical | RU | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS | BOQ shall be furnished to PESD by all units
48 | Lighting Transformers [Dry type] | Electrical | PE&SD | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS
49 | HT Power cables | Electrical | RU | PE&SD | PE&SD | PS | PS | RU | RU | PS | BOQ shall be furnished to PESD by all units
50 | LT Power cables for all units except for CHP,AHP,Switchyard and ESP | Electrical | RU | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS | BOQ shall be furnished to PESD by all units
51 | LT Power and Contro cables for Material handling system | Electrical | ISG | ISG | ISG | ISG | ISG | ISG | ISG | ISG
52 | LT Power cables and control cables for ESP | Electrical | BAP | BAP | BAP | PS | PS | BAP | BAP | PS
53 | Control cables for all units except for CHP,AHP,Switchyard and ESP | Electrical | RU | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS | BOQ shall be furnished to PESD by all units
54 | Cable glands, lugs, cable termination kits | Electrical | RU | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS | BOQ shall be furnished by Units. Except CHP, AHP, Switchyard and ESP
55 | Local control stations (LCS) for motors | Electrical | RU | RU | RU | PS | PS | RU | PE&SD | PS | As per the scope of LT switchgear
56 | Emergency Push Button switches for Transformers | Electrical | PE&SD | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS | ISG shall provide for Material handling area transformers, if applicable.
57 | Conventional Fire proof sealing material for all areas in power plants | Electrical | RU | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS | BOQ shall be furnished by Units.
58 | DC Starter Cubicles (DCSC) for ELOP/JLOP for STG | Electrical | PE&SD | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS
59 | DC Starter Cubicles (DCSC) for scanner air fans for Boiler | Electrical | BHEL T | BHEL T | BHEL T | PS | PS | BHEL T | PE&SD | PS
60 | Plant Communication System | Electrical | RU | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS
61 | Telephone System | Electrical | RU | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS
62 | Erection hard wares like chequer plates, cable tags, trefoil clamps, nylon chords, PVC/GI conduits, tools and tackles etc., | Electrical | RU | RU | RU | PS | PS | PE&SD | PE&SD | PS
63 | HT Motors | Electrical | RU | IS/IPE | IS/IPE | PS | PS | IS/IPE | PE&SD/ISG | PS
64 | LT Motors | Electrical | RU | RU | RU | PS | PS | RU | PE&SD/ISG | PS
65 | Insulating mats | Electrical | PE&SD | PE&SD | PE&SD | PS | PS | NA | NA | PS | BOQ shall be furnished by units
66 | Electrical Lab Equipments | Electrical | PE&SD | PE&SD | PE&SD | PS | PS | NA | NA | PS
67 | Insulating mats in material handling switchgear building | Electrical | ISG | ISG | ISG | ISG | ISG | ISG | ISG | ISG
68 | LAN System & Network | Electrical | EDN | EDN | EDN | PS | PS | EDN | EDN | PS
Notes:
1 | SCADA scope division shall be settled with EDN by TBG
2 | Scope of erection of Switchyard package shall be reviewed and finalised by TBG. TBG may take up with Power Sector if required
3 | Scope of erection of Material handling package shall be reviewed and finalised by ISG. ISG may take up with Power Sector if required
4 | Scope matrix prepared as above is in line with CFT. In case of any comment/observation from any unit, same shall be intimated by return mail.

## Instrumentation (hidden)
Instrumentation
Sl. No | Item Description | Discipline | BE | DE | Supply | E&C | Sup of E&C | Civil foundation Input | Civil foundation Design | Civil foundation Works | Remarks
1 | Distributed Control System along with Operator station, Engg. Station (HMI), Printers | Instrumentation | EDN | EDN | EDN | PS | EDN | EDN | PE&SD | PS
2 | BMS PLC System along with HMI & printer [Special applications like SIL] - BMS | Instrumentation | EDN | EDN | EDN | PS | EDN
3 | Hardwired Annunciator system for plant (if Applicable) [Except electrical System] | Instrumentation | EDN | EDN | EDN | PS | EDN | EDN | PE&SD | PS
4 | HWC with PB’s/ Lamp for plant requirement if Applicable [Except electrical System] | Instrumentation | EDN | EDN | EDN | PS | EDN |  | PE&SD | PS
5 | Large Video Screen | Instrumentation | EDN | EDN | EDN | PS | EDN | EDN | PE&SD | PS
6 | Master & Slave clock system | Instrumentation | EDN | EDN | EDN | PS | EDN | EDN | PE&SD | PS
7 | OPC server (Hardware & Software) | Instrumentation | EDN | EDN | EDN | PS | EDN
8 | OPC server connectivity for customer systems | Instrumentation | EDN | EDN | EDN | PS | EDN
9 | Performance Monitoring System | Instrumentation | RU | EDN | EDN | PS | EDN
10 | Boiler Flame Viewing System complete with suitable cameras, necessary power, control and signal cables, interface and signal processing hardware and dedicated PC-based operator stations for real-time flame monitoring. | Instrumentation | Trichy | Trichy | Trichy | PS | Trichy
11 | Programmable Logic Controller based Stand alone Controls for offsite and utility system like Ash Handling System, Coal Handling System, Fuel Oil Handling System, Water Pre-treatment Plant, DM Plant, Effluent Treatment Plant, CW Chlorination Plant, Fire Protection System, Compressed Air System, AC & Ventillation system, Waste Water Treatment system etc. | Instrumentation | RU | RU | RU | PS | RU | RU | PE&SD | PS
12 | Sequence of Event Recorder (SOE)- Standalone, Integral | Instrumentation | EDN | EDN | EDN | PS | EDN | EDN | PE&SD | PS
13 | Historian system | Instrumentation | EDN | EDN | EDN | PS | EDN | EDN | PE&SD | PS
14 | SWAS (Steam and water analysis system) for Boiler Area | Instrumentation | Trichy | PE&SD | PE&SD | PS | PS | Trichy | PE&SD | PS | Process Parameters ,Alarm set points, for Boiler SWAS scope shall be provided by Tirchy during detailed Engineering
15 | SWAS (Steam and water analysis system) for BOP Area | Instrumentation | PE&SD | PE&SD | PE&SD | PS | PS | PE&SD | PE&SD | PS
16 | Continuous Emissions monitoring System (CEMS) | Instrumentation | Trichy | Trichy | Trichy | PS | Trichy | Trichy | PE&SD | PS
17 | Field instruments (PG, PT, PS, TG , LG, FE,LT,LS,DPTs,DPGs ) along with Junction Box for STG Integral | Instrumentation | HPEP | PE&SD | PE&SD | PS | PS |  |  |  | Instrument schedule with their applicable Ranges and Process Parameters shall be provided by HPEP during Detailed Engineering. HPEP is also requested to give Inputs for JB Grouping for STG Integral during detailed Engineering
18 | Field instruments (Transmitters ) along with Junction Box for Boiler Area | Instrumentation | Trichy | PE&SD | PE&SD | PS | PS |  |  |  | Instrument schedule with their applicable Ranges and Process Parameters shall be provided by Trichy during Detailed Engineering
19 | Field instruments (Local Gauges and switches ) for Boiler Area | Instrumentation | Trichy | Trichy | Trichy | PS | PS
20 | Field instruments (Local Gauges,Switches,Transmitters ) for BOP Area | Instrumentation | PE&SD | PE&SD | PE&SD | PS | PS
21 | Field Instruments for Packages | Instrumentation | RU | RU | RU | PS
22 | Control Valves, Shut Down valves, Safety Valves, desuperheaters) for the entire plant | Instrumentation | RU | RU | RU | PS
23 | Flow elements, flow meters for the entire plant | Instrumentation | RU | RU | RU | PS |  |  |  |  | Flow Element shall be by PE&SD ,w.r.t. Piping by PE&SD
24 | Instrument mounting, hook up material for Boiler Area Transmitters | Instrumentation | Tirchy | PE&SD | PE&SD | PS
25 | Instrument mounting, hook up material for Boiler Area Local Gauges and Switches | Instrumentation | Tirchy | Tirchy | Tirchy | PS
26 | Instrument mounting, hook up material for STG Integral | Instrumentation | HPEP | PE&SD | PE&SD | PS
27 | Instrument mounting, hook up material for BOP | Instrumentation | PE&SD | PE&SD | PE&SD | PS
28 | Turbine Supervisory Instruments (TSI) | Instrumentation | HPEP | HPEP | HPEP | PS |  | RU
29 | Vibration Sensors/Probes along with associated cables up to field junction box for SA Fans, PA Fans, ID Fans as applicable | Instrumentation | BAP | EDN | EDN | PS | EDN
30 | Vibration Sensors/Probes along with associated cables up to field junction box for Bhopal supplied HT motors (Drives for SA Fans, PA Fans) as applicable | Instrumentation | BAP | EDN | EDN | PS | EDN
31 | Vibration Sensors/Probes along with associated cables up to field junction box for BFPs & their HT motor drives | Instrumentation | PE&SD | EDN | EDN | PS | EDN | PE&SD | PE&SD | PS
32 | Vibration monitoring System (VMS) for HT drives like SA, PA,ID,BFP & their associated drives | Instrumentation | EDN | EDN | EDN | PS | EDN
34 | VMS Analysis & Diagnostic Software common for the Plant | Instrumentation | EDN | EDN | EDN | PS | EDN | EDN
35 | Signal Cables & JB's - Branch Cable, Multi pair Cable, RTD Cable, T/C cable for STG Integral , Boiler Area Instruments supplied by PE&SD, BOP except CHP, AHP | Instrumentation | RU | PE&SD | PE&SD | PS | PS
35 | Signal Cables Upto Junction Box for Switches,RTD/TC supplied by Trichy for Boiler Integral | Instrumentation | Trichy | Trichy | Trichy | PS | PS
36 | Signal Cables & JB's - Branch Cable, Multi pair Cable, RTD Cable, T/C cable for CHP, AHP | Instrumentation | ISG | ISG | ISG | PS | PS
37 | Special Cable - Fiber optic cables, serial interface cables, Network Cables etc., | Instrumentation | RU | EDN | EDN | PS | PS | EDN | PE&SD | PS | Any one end DCS is there then those required special cable by EDN.
38 | Control room furniture for mounting of all consoles, printers, chairs for operators, operator’s desk, and file racks etc. | Instrumentation | EDN | EDN | EDN | PS | PS | EDN | PE&SD | PS
39 | C&I Lab Equipments with furniture | Instrumentation | EDN | EDN | EDN | PS | PS | EDN | PE&SD | PS
40 | HART Management System | Instrumentation | EDN | EDN | EDN | PS | EDN | EDN | PE&SD | PS
41 | Special tools & tackles | Instrumentation | RU | RU | RU | PS | PS | RU | PE&SD | PS
42 | Mandatory Spares, Recommended spares, O&M and maintenance spare | Instrumentation | RU | RU | RU | PS
43 | Prebaricated Shelter for CEMS | Instrumentation | Trichy | Trichy | Trichy | PS | PE&SD |  |  |  | Not Applicable for this proposal
44 | Prebaricated Shelter for SWAS for Boiler & BOP Area | Instrumentation | PE&SD | PE&SD | PE&SD | PS | PE&SD |  |  |  | Not Applicable for this proposal
45 | Cable Glands, Lugs, cable Ferrules, fasteners, etc | Instrumentation | RU | RU | RU | PS | PS | RU
46 | Hand Held Calibrator | Instrumentation | PE&SD | PE&SD | PE&SD | PS | PS
47 | Documentation Server | Instrumentation | EDN | EDN | EDN | PS | PS | EDN
48 | Cable Trays for C&I cables | Instrumentation | RU | RU | RU | PS | PS | RU | PE&SD | PS
49 | Ambient Air Quality Monitoring System | Instrumentation | PE&SD | PE&SD | PE&SD | PS | PS
50 | Weather Monitoring System | Instrumentation | PE&SD | PE&SD | PE&SD | PS | PS |  |  |  | Not Applicable for this proposal
51 | MCT Blocks(If applicable) | Instrumentation | RU | PE&SD | PE&SD | PS | PS | PE&SD
52 | Transmitter racks(If applicable) Except CHP,AHP Area | Instrumentation | RU | PE&SD | PE&SD | PS | PS |  |  |  | For PE&SD supplied Transmitters, PE&SD shall supply Transmitter racks. For CHP,AHP, BHEL ISG has to supply Transmitter Racks
NOTE:
1) All units shall review the scope matrix and revert back immediately for any corrections.
2) Scope matrix is made in line with the CFT 1