## Sheet1
| BHARAT HEAVY ELECTRICALS LIMITED |  | Enquiry No. :
| Heavy Power Equipment Plant, Ramachandrapuram, |  | Due Date :
| Hyderabad - 502 032. INDIA. |  | Supplier Qtn. No.:
| Phones : 23182250 |  | Date :
Purchase Dept. : 040 - 23021910 & 23021954
E-mail : burre@bhelhyd.co.in
TENDER DOCUMENTS TO BE FILLED BY THE SUPPLIER FOR SUPPLY OF
VIBRATION PEN [QTY - 4 NOS.]
ADDRESS OF THE SUPPLIER :
TELEPHONE NOS.:
FAX NOS.:
E-MAIL ADDRESS :
Sl. No. | Description for BHEL Requirement | Offered | Deviations | Remarks
(1) | Purpose:
I | For measuring of over all vibrations in Turbine bearings, casings, Foundation bolts etc.
II | Over all vibrations and enveloped acceleration readings of compressors gear boxes etc.
III | To check the Over all vibrations and enveloped acceleration readings for CEP pumps, BFP pums etc..
IV | Over all vibrations for motors.
(2) | Description of the system: •
Most of the vibration problems related to structural problems like imbalance, resonance, misalignment, looseness are transferred to the housings. An experienced and Skill person can judge the healthiness of the equipment by measuring the level and siverity of these vibrations. The vibro pen should eliminate the human personal skills component, in this analysis and should provides the instantaneous.
(3) | Main parameters of the system:
I | Must be capable of read over all vibrations
II | Must be capable of measuring gear mesh frequency vibrations for gear boxes.
III | Must be suitable for the machines running at RPM range min 600 to 6000.
IV | The out put of readings must be digital type.
V | Accuracy of the of the results must be with in ± 10 %.
VI | Frequency range for over all vibrations must be min 10 Hz to 1000 Hz.
I | Supplier to furnish technical leaflet for the offerd model and O & M manualsof the machine shall be provided along with the equipment.
II | Accessories required for normal operation shall be quoted with item wise breakup as optional.
III | BHEL Engineers will inspect the machine at Supplier's works before despatch.
IV | The machine shall be guaranteed for trouble free operation for a period of at least 12 months.
V | Free replacement in case of manufacturing and assembly defects during guarentee period.
(5) | Spares :
Itemized mechanical, electrical & electronic spare parts package for 2 years trouble free operation shall be quoted as optional.
(6) | Training:
Training should be given at free of cost for the erection / servicing team at BHEL R.C.Puram during commitioning of the equipment.
(7) | Quotation :
The quotation shall be submitted with point to point answers in enclosed format only. Catalogues and Detailed literature of the entire system shall be enclosed along with the offer. In obsence of this the offer can not be evaluated techinically.
The quotation shall be submitted with point to point answers in enclosed format only. Catalogues and Detailed literature of the entire system shall be enclosed along with the offer.