|  |  |
| --- | --- |
| **Technical specifications : Accessories for Laproscope** | |
| Following reusable accessories for laparoscopic surgery are to be supplied: | |
| 1 | One number: Click line claw forcep 10mm size 36 cm length 2-3 teeth insulated |
| 2 | Two numbers: Needle holder ergonomic handle with rachet 5mm size length 33 cm |
| 3 | Two numbers: Click line bowl grasper forcep rotating 5mm length 36 cm |
| 4 | One number: Click line bab cock grasping forcep rotating 5mm size 36cm length |
| 5 | One number: Trocar size 11mm with blunt tip with two flanges for fixation for suture length sliding cone |
| 6 | One number: Suture passer instrument |
| 7 | One number: L-Hook for electric diathermy size 5mm |

All of above mentioned items are to be supplied together by a single vendor as a single package, therefore only combined price for all the items should be quoted without any breakup for different items.

Vendor has to support the specifications with manufacturer’s brochure failing which offer may be rejected. Vendor has to demonstrate the equipment at BHEL General Hospital, Hyderabad, within specified time limit, if asked for; failing which offer will be rejected.

Installation(Erection & commissioning) and training to be provided by vendor .