## SG AHP PF Indian Bidder
Date: 03.05.2019
UNPRICE BID FORMAT FOR INDIAN BIDDERS
ENQUIRY NO.77/19/6012/SK DATED02.054.2019, Enquiry Specification No:IS-4-EQ-724-100-M001
PROJECT – 1 x 660 MW WBPDCL SAGARDIGHI THERMAL POWER PLANT-WAGON TIPPLER PACKAGE
All Figures are in Rupees
Sl No | Description | Units (1) | Qty (2) | Unit Ex-works price including Freight, Packing & Forwarding Charges (3) Rs | Total Ex-works price including, Freight, Packing & Forwarding charges (Rs.) (4=2X3) Rs | GST % as applicable (5) % | HSN No./ SAC Code (6)
A | WAGON TIPPLER PACKAGE-A: Comprises of Wagon tippler, SAC, Indexer, Apron Feeder with Dribble conv., EOT crane, Bobcat, air conditioning system & accessories (includes Design, Engineering, Manufacturing, Inspection, Supply, Transportation, Unloading, receipt at site, construction of closed store & open storage at site, Preservation & Security, Erection, supply of consumable till handing over, all associated minor civil works, Trial run, commissioning, Functional testing, Handing over & Demonstration of Performance Guarantee) & integration with Coal handling plant with Mechanical and electrical accessories as per the scope mentioned in technical enquiry specifications.
A.I | MAIN SUPPLY | Lot | 1
A.I.1 | One (1) Rotary twin Wagon Tippler (Hydraulically operated only, Crescent Type Tippler) complete with all accessories including driving accessories, rack & pinion, twin wagon tippler table complete with rails, rail fixture, integrated weigh bridge, cradle, sustaining beam, clamping arrangement etc. as required for safe, reliable and trouble free operation. with electricals etc as per spec. | Set | 1 (one)
A.I.2 | One (1) Side Arm Charger and one (1) Indexer complete with the carriage, attachment for disengaging the front wagon, drive, drive pinion, chain, necessary rail, rail fixtures, cable for the travel of the machines, limit switches, brakes, necessary stops with buffer etc. as required for safe, reliable and trouble free operation of the plant. with electricals as per spec. | Set | 1 (one)
A.I.3 | Apron Feeder below the Two (2) nos. of Wagon Tippler Hoppers complete with dribble feeders, skirt, flow control arrangement, drives and supports with discharge chute and hood with electricals etc as per spec. | Set | 2 (two)
A.I.4 | Air conditioning for Wagon tippler control room with electricals etc as per spec. | Lot | 1 (one)
A.I.5 | E.O.T. Crane having hoist capacity of 20T/5T (Main/Auxiliary) with supply of rail including electricals as per Technical specification | Set | 1 (one)
A.I.6 | Bobcat S-450 or equivalent for stone/boulder removal from grating as per spec. | Set | 1 (one)
A.I.7 | All Electrical items required for complete Machine Package-A as per NIT specifications. | Lot | 1 (one)
A.I.8 | Mandatory spares for all equipments under this package as per spec. Price break‐up shall be submitted as per Mandatory spare price format. | Lot | 1 (one)
A.I.9 | Design & Drawings of Civil & Structural Works of Wagon Tippler Complex: Design & drawings of Civil & Structural works of entire complex, which includes base raft, walls, counterforts, hoppers, floors, side-arm charger, indexer, structural shed including its foundations, control room, power pack room, equipment foundations of DE, DS & Ventilation systems, trenches below the rail lines, civil details of rail stopper arrangement, gratings, grade slab with drainage & dozer movement arrangements, review, checking & approval of fabrication drawing of WT shed etc. complete. | Lot | 1 (one)
A.I.10 | Providing 3D model of complete Wagon Tippler complex as per scope of work described in this specification and customer’s NIT specification. | Lot | 1 (one)
Total A=A.1
A.II | Erection & Commissioning
A.II.1 | Operation & Maintenance as per specification | Shift | 300
A.II.2 | Receipt at Site, Unloading, Construction of open and closed storage shed, Storage (including shifting of material, make approach road wherever required, Security of stored and erected material, Erection, Testing, Commissioning, PG Test and handing over including making all arrangement for construction power from terminal point) | Lot | 1 (one)
Total A.II=
GRAND TOTAL FOR DECIDING L1=(A.I+A.II)
B | Actual CIF Content for imported items, if any CIF Content (in Figure) INR: ................................................................... CIF Content (in Words) INR: ................................................................... The Total Price Quoted shall be with applicable rates over and above CIF allocation.
NOTE:
1 | GST shall be payable extra at actuals at prevailing rates.
2 | In Price bid submitted by the vendor, all the columns and rows should be filled
3 | Any column/ row left blank the same shall be treated as included in the total price Quoted.
4 | * In case of Indian agents of foreign bidders: - The basic exworks price indicated is inclusive of all import taxes, duties & marine freight etc. - Excise duty not applicable.
5 | This tender is on EPC basis for the total scope specified in the NIT. Bidders to ensure that the scope is studied and understood before filling of price format.
6 | Further, bidders to note that cost towards the training/inspection of indigenous/ off shore equipments by WBPDCL/WBPDCL nominated agency will be to Bidders account, which includes to & fro Airfare/Railway/Road fare charges, Boarding and Lodging, local transportation and other related expenses and the above quoted price should be inclusive of these expenses
7 | The price to be Quoted strictly as per the price format with the detailed Price break up format enclosed and submitted as Part - II bid. Un price copy of price bid along with duly filled in format of Commercial terms and conditions (CTC) to be submittedas part of Part-I bid for techno-commercial evaluation.
8 | Unit rate shall be applicable for Sl.No. A.II.1. Quantities of this item can be increased or reduced or deleted.Quantity of unit rate items may vary during the project execution and the order price will be adjusted based on the actual requirement. However the units rates of such items will remain valid till the end of the contract for any change in the quantity. Above is inclusive for all contractual obligations including submission of Drawings, Documents, QAP, Painting schedule, O&M manual, Erection manual etc in required number of hard and soft copies as per enquiry specification, bidder’s offer and all recorded discussions etc.
9 | a. If, in the price structure quoted for the required goods/ services/ works, there is discrepancy between the unit price and the total price (which is obtained by multiplying the unit price by the quantity indicated in the qty column of the price format), the unit price shall prevail and the total price corrected accordingly. b. If there is an error in a total corresponding to the addition or subtraction of subtotals, the subtotals shall prevail and the total shall be corrected accordingly. c. If there is a discrepancy between price indicated in words and figures, the price mentioned in words will be considered for bid evaluation. d. If there is such discrepancy/error in an offer, the same shall be conveyed to the bidder with target date up to which the bidder has to send his acceptance on the above lines and if the bidder does not agree to the decision of the BHEL, the same may invite rejection of bid and necessary action against the bidder as per BHEL procedures and BHEL’s decision is final.
10 | The prices for all the rows & columns to be filled, in case any row or column is left blank is deemed as price included. In the event of discrepancy between the value and declared in words, value declared in words will be considered.
11 | Un-priced price format indicating “quoted” for the respective items shall be submitted separately along with the Techno-commercial bid (Part - I).
12 | This tender is being floated to award the scope of work on package basis as per specifications and notes as in this price format. Hence Scope of work is not limited only to the items listed above but include all other items required for completion of Wagon Tippler Package as per the tender specification.
13 | Acceptance of offer for price bid opening shall be subject to satisfying the Techno Commercial conditions and approval by WBPDCL.
Bidder's Signature & Stamp

## Sheet1
PRICE BREAK-UP FOR MANDATORY SPARES
| ITEM | Wagon Tippler Package
| ENQUIRY NO. & DATE | 77/19/6012/SK, 03.05.2019
| PROJECT | 1X660MW Sagardighi T.P.S.P
Sl. No. | Equipment/Package Name | Quantity to be supplied for the Package
A | Mechanical Mandatory Spares
1.00.00 | Wagon Tippler Package
1.01.00 | TWIN WAGON TIPPLER
1.01.01 | Hydraulic Power Pack for Clamping system
i. | Valves | 1 no. of each size and type
ii. | O.P. Coolers | 1 no.
iii. | Filter elements | 10 nos. of each type
vi. | Pressure Switch | 1 no. of each type
v. | Temperature switch | 1 no. of each type
1.01.02 | Limit Switches | 2 nos. of each type
1.01.03 | Hydraulic Cylinder Manifold block with all valves mounted on it | 1 no.
1.01.05 | Hydraulic cylinder with piston | 2 no.
1.01.06 | Seals of hydraulic cylinder and pumps etc | 2 sets of each type
1.01.07 | Hydraulic hoses | 2 no. of each type and size
1.01.08 | Rod end bearings with housing | 1 set for all four clamps
1.01.9 | Pressure switches | 1 no.
1.01.10 | Common manifold block complete with all valves mounted on it. | 1 no.
1.01.11 | Main Pivot bearing. | 01 no
1.01.14 | Chain & sprocket | 01 set
1.01.15 | Pinion | 02 no.
1.01.16 | Other Electrical Spares as applicable as per the Electrical List | Item & Quantity as indicated in electrical spare list.
1.01.17 | Load cell complete set | 1no.
1.01.18 | Pinion Shaft | 2 Nos.
1.01.19 | Latch(Pinion & rack segment locking device) | 1 No.
1.02.00 | SIDE ARM CHARGER
1) | Guide Wheel assembly consisting of
i.) | Bearing | 1 set of each type & size
ii.) | Oil Seal | 2 set of each type & size
iii.) | Guide wheel fitted with shaft | 1 set
2 | Runner wheel Assembly | 1 No.
3 | Bearing | 1 no. of each type
1.03.00 | APRON FEEDER
1.03.01 | Head pulley complete with shaft | 1 No.
1.03.02 | Tail pulley complete with shaft | 1 No
1.03.03 | Traction rollers | 20% of the total used in the system.
1.03.04 | Carrying idlers | 20 % of the total used in the system
1.03.05 | Return rollers | 20 % of the total used in the system
1.03.06 | Sprocket segments | 2 sets of each type and size
1.03.07 | Link chain | 20 % of each type and size
1.03.08 | Pans (flights) | 10%
1.03.11 | Plummer blocks | 1 No of each type and size
1.03.12 | Bearings | 1 No for each type and size.
1.04.00 | HYDRAULIC DRIVE SYSTEM
1.04.01 | Complete set of Hydraulic Pump with drive Motor for Hydraulic Power Unit | 1no. each type, size & rating used in coal handling plant including Wagon Tippler,side Arm, Indexer, Apron Feeder & Conveyors.
1.04.02 | Complete set of Hydraulic Motor | 1no. each type, size & rating used in coal handling plant including Wagon Tippler, Apron Feeder & Conveyors.
1.04.03 | Oil Hose | Two complete set (comprising of pump-end & Hydraulic Motor-end) for each type of application
1.04.04 | Controller
i. | Complete set of Controller | 1no.
ii. | Power Supply Cards | 2 nos. each type used in the system
iii. | Controller Cards | 2 nos. each type used in the system
iv. | Interposing Relay | 2 nos. each type used in the system
1.04.05 | Solenoid Coil for Pumps. | 2 nos. each type used in the system
1.04.06 | Seal kit for Pumps | 2 sets each type used in the system
1.04.07 | Pressure Switches | 2 nos. each type used in the system
1.04.08 | Pressure Transmitter | 2 nos. each type used in the system
1.04.09 | Temperature Switches/senser | 2 nos. each type used in the system
1.04.10 | Oil Level Switches | 2 nos. each type used in the system
1.04.11 | Filter Indicator | 2 nos. each type used in the system
1.04.12 | Filter Cartridge | 4 nos. each type used in the system
1.04.13 | Air Filter | 2 nos. each type used in the system
1.04.14 | Suction Line Indicator | 2 nos. each type used in the system
1.05.00 | Indexer
1) | Guide Wheel assembly consisting of
i.) | Bearing | 1 set of each type & size
ii.) | Oil Seal | 2 set of each type & size
iii.) | Guide wheel fitted with shaft | 1 set
2 | Runner wheel Assembly | 1 No.
3 | Bearing | 1 no. of each type
2.01.00 | EOT Cranes
2.01.01 | Long Travel Unit
(i) | Set of Bearings of Wheels | 1 Set
(ii) | Set of Gearbox Bearings with Sleeves | 1 Set
(iii) | Long Travel end Shaft Bearings | 1 Set
(iv) | Seals for Travel Gear Box | 1 Set
(v) | Long Travel Brake Shoes Liners | 2 Sets
(vi) | Complete Set of Hydraulic Thruster for Brakes (if applicable) | 1 No.
(vii) | Brake Spring | 1 Set
(viii) | Brake Coil | 2 Sets
(ix) | Motor | 1 No.
2.01.02 | Cross Travel Unit
(i) | Axle Bearings | 1 Set
(ii) | Set of Gearbox Bearings with Sleeves | 1 Set
(iii) | Set of seals for Gearbox | 1 Set
(iv) | Cross Travel end Shaft Bearing | 1 Set
(v) | Cross travel Brake Shoes Liners | 2 Sets
(vi) | Complete Set of Hydraulic Thruster for Brakes (if applicable) | 1 No.
(vii) | Brake Spring | 1 Set
(viii) | Brake Coil | 2 Sets
(ix) | Motor | 1 No.
2.01.03 | Hoist
(i) | Main Hoist Pulley Bearings [All Bearings of Each Type and size used in all Gear Assemblies, Lifting Hook, Trolley wheels etc.] | 1 Set
(ii) | Set of Bearings for Gear box | 1 Set
(iii) | Set of seals for Gearbox | 1 Set
(iv) | Aux. Hoist Gearbox Bearings | 1 Set
(v) | Aux. Hoist Gearbox Seals | 1 Set
(vi) | Complete Set of Hydraulic Thruster for Brakes (if applicable) | 1 No.
(vii) | Main & Aux. Hoist Brake Shoes [Brake shoes with lining for each size of brake (Pair of each size) ] | 2 Sets
(viii) | Main & Aux. Hoist Brake Springs | 2 Sets
(ix) | Main & Aux. Hoist Brake shoe liners | 2 Sets
(x) | Motor for Main Hoist & Auxiliary Hoist | 1 No.
(xi) | Brake Coil | 2 Sets
(xii) | Wire Rope for Aux. Hook | 100% of one crane
B | Electrical & C&I Mandatory Spares
1 | 415V PCC, PMCC, MCC, ACDB, DCDB, Elect. Control Panel (For each PCC, PMCC, MCC, ACDB, DCDB and Elect. Control Panel) (applicable items of PCC, PMCC, MCC, ACDB, DCDB and Elect. Control Panel shall be considered)
(i) | Indicating Lamps complete assembly
(a) | Red | 3 nos of each make and type.
(b) | Blue | 3 nos of each make and type.
(c) | Green | 3 nos of each make and type.
(d) | White | 3 nos of each make and type.
(e) | Amber | 3 nos of each make and type.
(ii) | CT | 2 nos. for each make, type and Rating
(iii) | Transducer | 2 no for each make, type and Rating
(iv) | Trip / Neutral / close Control Switch | 2 nos. for each make, type and Rating
(v) | Switch gear or MCC / Trial / Normal selector switch | 2 nos. for each make, type and Rating
(vi) | Local/Remote selector switch | 2 nos. for each make, type and Rating
(vii) | AC Supply On / Off Switch | 1 no. for each make, type and Rating
(viii) | DC Supply On / Off Switch | 1 no. for each make, type and Rating
(ix) | Motor Heater On /Off Switch | 1 no. for each make, type and Rating
(x) | DC Supply Source Selector Switch (3-position) | 1 no. for each make, type and Rating
(xi) | Ammeter Selector Switch | 1 no. for each make, type and Rating
(xii) | Voltmeter Selector Switch | 1 no. for each make, type and Rating
(xiii) | Voltmeter | 2 no. for each make, type and Rating
(xiv) | Ammeter | 2 no. for each make, type and Rating
(xv) | Auxiliary Control Contactor
(a) | Auxiliary Control Contactor complete assembly | 10% of total nos for each make, type and Rating.
(b) | Auxiliary Control Contactor spare kits | 10% of total nos. for each make, type and Rating.
(c) | Auxiliary Control Contactor Coils | 10% of total nos for each make, type and Rating.
(xvi) | Power Contactor
(a) | Power Contactor Complete Assembly | 10% of total nos for each make, type and rating
(b) | Power Contactor spare kits | 10% of total nos for each make, type and Rating.
(c) | Power Contactor Coils | 10% of total nos for each make, type and Rating.
(xvii) | MCCB | 5% of total nos. for each make, type and rating.
(xviii) | MCB | 5% of total nos. for each make, type and rating.
(xix) | Switch Fuse Unit (DC) | 10% of total nos. for each make, type and rating.
(xx) | Power Fuse | 5% of total nos. for each make, type and rating.
(xxi) | Control Fuse | 5% of total nos. for each make, type and rating.
(xxii) | Thermal Overload Relay | 5% of total nos. for each make, type and rating.
(xxii) | Sliding contact (Fixed and moving) Complete assembly | 2 sets of each make, type and rating
(xxiii) | Busbar to module Lira Contact assembly | 2 sets of each make, type and rating (1 set means all 3 ph+ neutral)
(xxiv) | Control and Aux. Transformer | 1 no of each make, type and rating
(xxv) | Delay Timer | 2 no of each make, type and rating
(xxvi) | Power Terminal Block | 2 sets for each make, type and rating
(xxvii) | Control Terminal Block | 2 sets for each make, type and rating
(xxviii) | End plate for Power and Control terminal block | 2 sets for each make, type and rating
(xxix) | Energy meter | 1 no for each make, type and rating
(xxx) | Relays (Other than numerical relay):
(a) | Conventional (Electromagnetic/Static type) Relay | 2 no for each make, type and rating
(b) | Aux. relays & Lock out relays & TIMERS | 2 nos for each make, type and rating
(xxxi) | MCCB Status (On/off) Monitoring Switch/Contact | 2 nos for each make, type and rating
(xxxii) | Push Button (On/Off) Complete Assembly | 2 nos for each make, type and rating
(xxxiii) | Annunciation Facia with lamps complete set ( if applicable) | 1 set for each make, type and rating
2 | Control Panel/Desk Mounted Items
a | Push Button Complete assembly | 10Nos for each colour
b | Push Button Contact Element (1NO + 1NC) Block | 20Nos.
c | Selector Switch | 10Nos. for each type and rating
d | Meter (Analog and Digital)
(i) | Ammeter | 2Nos. for each type and range
(ii) | Voltmeter | 2Nos. for each type and range
(iii) | Frequency | 2Nos. for each type and range
(iv) | MW | 2Nos. for each type and range
(v) | MVAR | 2Nos. for each type and range
(vi) | Power Factor | 2Nos. for each type and range
(vii) | Synchroscope | 1No. for each type and range
(viii) | Synchrocheck Relay complete set | 1No. for each type and range
(ix) | Transducer | 1No. for each type and range
e | Indicating Lamps complete assembly | 20Nos. for each Colour and type
f | Mimic Lamps | 10Nos. for each Colour and type
g | MCB | 5Nos. for each type and rating
h | Door Limit Switch | 5Nos.
i | Annunciation system
(i) | Lamp Box with Facia & Lamps (LED type) | 25Nos.
(ii) | Hooter | 1No.
(iii) | Each type of PCB (for non-PLC driven system) | 1(one) no.
3 | Actuator
a | Complete set of Actuator | 2Nos. for each type, make and rating, 1 no. for H2 cooler Temperature controller and 1 no. for stator water temperature controller
b | Power Unit for Modulating Actuator | 4Nos. of each type
c | DC-DC Power Pack Unit | 4Nos. of each type
d | Electronic cards | 4Nos. of each type
e | Position Feed Back Transmitters | 4Nos. of each type
f | Control Unit | 4Nos. of each type
g | Limit Switch Assembly | 2 Nos each type and rating
h | Torque Switch Assembly | 2 Nos each type and rating
i | Power Contactor | 5Nos. for each type and rating
j | Auxiliary Contactor | 5Nos. for each type and rating
k | Thermal Over Load Relay | 2Nos. for each type and rating
l | Motor | 1No. each type and rating
m | Complete Seal kit | 2Sets for each type and rating
n | Complete O-Ring Set | 2Sets for each type and rating
4 | Illumination
a | Lighting fixtures without light | 20 Sets for each make, type and rating
b | MCCB | 5 Nos for each make, type and rating .
c | MCB | 20 Nos for each make, type and rating .
d | Power and Control Contactor | 5 Nos for each make, type and rating
e | Switches | 5 Nos for each make, type and rating .
f | Receptacles with plug | 5 Nos for each make, type and rating
g | Rotary switches | 2 Nos for each make, type and rating .
h | LED light | 50 nos for each make, type and rating .
i | Clock switch type Time Switch | 2 nos for each make, type and rating .
j | Lighting Transformer | 1 no for each make, type and rating .
5 | Motor
5.1 | 11 KV & 3.3 KV Motor
(i) | Motor of each type and rating (Note : motors covered in mechanical spare items need not to be included here again) | 10% of the installed quantity or minimum 1 number whichever be higher
(ii) | Neutral End Terminal Bushing with Fasteners | 1 no. for each type and rating of Motor
(iii) | Bearing Temperature Gauge Driving & Non-Driving End | 1 set for each type and rating of Motor
(iv) | Phase segregated terminal boxes | 2 Nos. for each type and rating of Motor
(v) | Heaters | 2 sets for each type and rating of Motor
(vi) | Complete Set of Coupling | 1 set for each type and rating of Motor
(vii) | Bearings (DE) for each type and rating of motors | 2 sets for each type and rating of Motor
(viii) | Bearings (NDE) for each type and rating of motors | 2 sets for each type and rating of Motor
(ix) | Cooling Fan Internal & External | 1 set for each type and rating of Motor
(x) | Neutral CT for differential protection (For motor rating >1000 KW) | 2 no of each type and rating.
(xi) | End Termination kits | 2 Nos. of each type and rating
(xii) | Indicating Instruments/gauges other then Bearing temperature gauge (as applicable) | 1 set for each type and rating of Motor
(xiii) | Phase side Bushing and Insulator | 1Set for each type and rating of Motor
(xiv) | Oil Seal Ring (as applicable) | 1Set for each type and rating of Motor
5.2 | 415 Volt Motor
(i) | Motor of each type and rating (Note : motors covered in mechanical spare items need not to be included here again) 10% of the installed quantity or minimum 1 number whichever be higher | 10% of the installed quantity or minimum 1 number whichever be higher
(ii) | End Shield Cover Driving & Non-Driving End | 1 set for each type and rating of Motor
(iii) | Heaters | 2 sets for each type and rating of motor
(iv) | Bearings (DE and NDE) for each type and rating of motor | 2 sets
(v) | Cooling Fan for all type and rating of LT motors | One (1) set
(vi) | Dust seals and gaskets for each type of motors | 1 Set
(vii) | Motor Terminal Block | 1 no. for each type and rating of Motor
(viii) | Complete Set of Coupling | 1 set for each type and rating
6 | Local Control Station
6.1 | Local Control Station Complete Set for all type of drives | 2 nos for each make, type and rating
6.2 | Push button complete set | 5 nos for each make, type and rating
Control & Instrumentation
7 | Field Instrument
7.1 | Electronic Transmitters
(i) | Pressure | 1(One) no. complete set for each type and model/range used in the system
(ii) | Differential Pressure | 1(One) no. complete set for each type and model/range used in the system
(iii) | Level | 1(One) no. complete set for each type and model/range used in the system
(iv) | Speed | 1(One) no. complete set for each type and model/range used in the system
(v) | FlowTransmitter | 1(One) no. complete set for each type and model/range used in the system
(vi) | 3-D Ultrasonic level Transmitter | 1(One) no. complete set for each type and model/range used in the system
7.2 | Different type of Switches
(i) | Pressure Switch | 2(two)no. of each type & model/range used in the system
(ii) | Differential Pressure Switch | 2(two)no. of each type & model/range used in the system
(iii) | Level Switch | 2(two)no. of each type & model/range used in the system
(iv) | Flow Switch | 2(two)no. of each type & model/range used in the system
(v) | Temperature Switch | 2(two)no. of each type & model/range used in the system
(vi) | Dust Detector | 1(one)no. of each type & model used in the system
7.3 | Thermocouple | 10% of each type and length used in one unit
7.4 | RTD | 10% of each type and length used in one unit
7.5 | Thermo-well for both TC and RTD | 2(Two) nos. for each type and rating/length used in the system
7.6 | Solenoid Valve
(i) | Complete Solenoid Valve Assembly | 2Nos. for each type and rating used in the system
(ii) | Coil (single or double coil type) | 10% of total nos. used in the system or minimum 5(five) Nos. whichever is more for each type and rating.
7.7 | Different types of Gauge
(i) | Pressure Gauge | 10% of total nos. used in the system or minimum 1(one) no. whichever is more for each type and range.
(ii) | Differential Pressure Gauge | 10% of total nos. used in the system or minimum 1(one) no. whichever is more for each type and range.
(iii) | Temperature Gauge | 10% of total nos. used in the system or minimum 1(one) no. whichever is more for each type and range.
(iv) | Magnetic Level Gauge | 10% of total nos. used in the system or minimum 1(one) no. whichever is more for each type and range.
7.8 | Erection Hardware
(i) | Transmitter’s Manifold | 10% of total nos. used in the system or minimum 2(Two) nos. whichever is more for each type, rating,/model and size used in the system.
(ii) | Impulse Line Root/Source valve | 10% of total nos. used in the system or minimum 4(four) nos. whichever is more for each type, rating,/model and size used in the system.
(iii) | Impulse Line Isolation valve | 10% of total nos. used in the system or minimum 4(four) nos. whichever is more for each type, rating,/model and size used in the system.
(iv) | Impulse Line Drain valve | 10% of total nos. used in the system or minimum 4(four) nos. whichever is more for each type, rating,/model and size used in the system.
(v) | Impulse Line fittings | Each type/size 25Nos.
(vi) | Impulse Pipe | Each type/size 100Mtrs.
(vii) | Copper/SS Tube | Each type/size 100Mtrs.
(viii) | Fittings for Copper/SS Tube | Each type/size 100Nos.
7.9 | Conductivity Type Level Switch
(i) | Conductivity Ttype level Probes | 10% of total nos. used in the system or minimum 4(four) nos. whichever is more.
(ii) | Complete Electronics unit | 1Set
(iii) | Isolating/Root Valve | 2Nos.
8 | Current/Voltage Transducers | 1(one) no. each type/rating used in the system
9 | MWatt/MVAR Transducer | 1(one) no. each type/rating used in the system
13 | Energy Chain | 1 meter of each chain length with two sets of mounting brackets.
13.03.00 | PLC System
13.03.01 | CPU Card | 1No.
13.03.02 | Coomunication Processor Module | 1No. for each type
13.03.03 | Binary Input Card | 10% of total nos. used in the system or minimum 4(four) nos. whichever is more.
13.03.04 | Pulse Input Card | 10% of total nos. used in the system or minimum 1(one) no. whichever is more.
13.03.05 | Analog Input Card (4 to 20 mA type) | 10% of total nos. used in the system or minimum 2(two) nos. whichever is more.
13.03.06 | Analog Input Card (TC input type) | 10% of total nos. used in the system or minimum 2(two) nos. whichever is more.
13.03.07 | Analog Input Card (RTD input type) | 10% of total nos. used in the system or minimum 2(two) nos. whichever is more.
13.03.08 | Binary Output Card for contact | 10% of total nos. used in the system or minimum 4(four) nos. whichever is more.
13.03.09 | Binary Output Card for Voltage (24VDC) | 10% of total nos. used in the system or minimum 4(four) nos. whichever is more.
13.03.10 | Pulse output Card | 1No.
13.03.11 | Analog Output Card (4 to 20 mA type) | 10% of total nos. used in the system or minimum 2(two) nos. whichever is more.
13.03.12 | Interposing Realy | 10% of total nos. used in the system or minimum 4(four) nos. whichever is more.
13.03.13 | Output Relay modules/ Relay Board & | 10% of total nos. used in the system or minimum 4(four) nos. whichever is more.
Auxiliary Relay
13.03.14 | Bus End Modules | 1No. for each type
13.03.15 | Bus Extension Modules | 1No. for each type
13.03.16 | Bus Interfacing Card/Modules | 1No. for each type
13.03.17 | Prefab-cable with connector for CPU, Communication Card and I/O racks | 1No. for each type
13.03.18 | Networking Modules/Components | 1No. for each type
13.03.19 | Rack Mounted Power Supply Unit (SMPS or otherwise) for CPU, Communication Card and I/O racks | 10% of total nos. used in the system or minimum 2(two) nos. whichever is more for each type and rating.
13.03.20 | Non-rack Mounted Power Supply including Transformer | 10% of total nos. used in the system or minimum 2(two) nos. whichever is more for each type and rating.
13.03.21 | Any other system specific Module/Cards used in the system but not mentioned in this list | 10% of total nos. used in the system or minimum 2(two) nos. whichever is more for each type and rating.
13.03.22 | RAM Backup Battery | 2 (two) nos.
13.03.23 | MCB | 1No. for each type and rating
13.03.24 | Special Fuse for the Cards | Each type/rating of fuse, 25% of total nos. used in the system or minimum 25 nos. whichever is more.
13.03.25 | MMI Unit
(i) | 21'' TFT Monitor for the MMI Unit | 1No.
(ii) | Key Board | 1No.
(iii) | Mouse/ Trackball | 2Nos.
13.03.26 | UPS for PLC system (applicable for 5KVA rating or Bellow ,else Sl. No.7.11.00) | One Complete Set
13.03.27 | Micro PLC system (i.e. inegrated CPU & I/O system, where above mentioned components are not applicable) | One Complete Set
14.01 | UPS (PLC System) | (applicable only for above 3KVA rating, for UPS rating equal to or less than 3 KVA one complete set shall be supplied for each area.)
14.02 | Semi-conductor Fuse/HRC Fuse | 3 (Three) times of total quantity of each type of fuses used in the system
14.03 | SCR (if applicable) | 100% of total quantity of each type used in the system
14.04 | Diode | 100% of total quantity of each type used in the system
14.05 | IGBT | 100% of total quantity of each type used in the system
14.06 | Electronic Module/ PCB
(i) | Static Switch | 2(two) Nos. each type of Electronic
Card/PCB/modules used in the system
(ii) | Inverter | 2(two) Nos. each type of Electronic
Card/PCB/modules used in the system
(iii) | Static voltage Regulator | 2(two) Nos. each type of Electronic
Card/PCB/modules used in the system
(iv) | Charger | 2(two) Nos. each type of Electronic
Card/PCB/modules used in the system
14.07 | UPS Battery (Ni-Cad Type)
(i) | Battery Cell (Uncharged, Dry) | 10Nos. each type
(ii) | Inter connecting cell strips | 10Nos. each type
(iii) | Vent cap | 10Nos. each type
(iv) | Hydrometer | 1No.
(v) | Rubber gloves | 1Pair
(vi) | Voltmeter for measuring cell voltage (Center zero type) | 1No.
(vii) | Funnel | 1No.
(viii) | Jug | 1No.
(ix) | Appron & Goggles | 1Set
(x) | Cell lifting puller | 1No.
(xi) | Insulated socket spanner with handle | 1No.
(xii) | Terminal screw with Belleville washer | 5% of total quantity used
(xiii) | Plastic filling bottle | 1No.
(xiv) | Thermometer | 1No.
NOTE-1 | If percentage comes as fraction next higher integer should be considered for the purpose of quantity required.
NOTE-2 | The mandatory spare list is tentative. Any item supplied by the bidder but is not included in mandatory spare list may be decided during detail engineering.