|  | BHARATH HEAVY ELECTRICAL LIMITED RAMACHANDRAPURAM HYDRABAD-502032 ANDHRA PRADESH, INDIA | Phones: 040-23182306 | ENQUIRY |
| --- | --- | --- | --- |
|  |  |  | PURCHASE DEPARTMENT |

| OFFICE COPY | Enquiry No. P2A1P08464 | Enq. Date 11.03.2016 | No. of. Items 27 | DUE DATE OF QUOTATION 01.04.2016 |
| --- | --- | --- | --- | --- |

| Enq. Sl.No | Indent (MPR) No. | Material Code | Drawing No. Description& Specification | Unit | Quantity |
| --- | --- | --- | --- | --- | --- |
| 01 | 1600008464/10 | HY7433299017 | LIQUID TIGHT NYLON CONDUIT GLAND WITH LOCKNUT & WASHER. SIZE: PG7, APPROX. INNER DIAMETER: 10mm, COLOR: BLACK. | EA | 50 |
| 02 | 1600008464/20 | HY7433299025 | LIQUID TIGHT NYLON CONDUIT GLAND WITH LOCKNUT & WASHER, SIZE: PG9, APPROX. INNER DIAMETER: 13mm, COLOR: BLACK. | EA | 50 |
| 03 | 1600008464/30 | HY7433299033 | LIQUID TIGHT NYLON CONDUIT GLAND WITH LOCKNUT AND WASHER, SIZE: PG11, APPROX. INNER DIAMETER: 16mm, COLOR: BLACK. | EA | 50 |
| 04 | 1600008464/40 | HY7433299041 | LIQUID TIGHT NYLON CONDUIT GLAND WITH LOCKNUT & WASHER, SIZE: PG13, APPROX. INNER DIAMETER: 18.5mm, COLOR: BLACK. | EA | 50 |
| 05 | 1600008464/50 | HY7433299050 | LIQUID TIGHT NYLON CONDUIT GLAND WITH LOCKNUT AND WASHER, SIZE: PG16, APPROX. INNER DIAMETER: 21mm, COLOR: BLACK. | EA | 50 |
| 06 | 1600008464/60 | HY7433299068 | LIQUID TIGHT NYLON CONDUIT GLAND WITH LOCKNUT AND WASHER, SIZE: PG21, APPROX. INNER DIAMETER: 29mm, COLOR: BLACK. | EA | 50 |
| 07 | 1600008464/70 | HY7433299076 | LIQUID TIGHT NYLON CONDUIT GLAND WITH LOCKNUT AND WASHER, SIZE: PG29, APPROX. INNER DIAMETER: 35mm, COLOR: BLACK. | EA | 50 |
| 08 | 1600008464/80 | HY7433299084 | LIQUID TIGHT NYLON CONDUIT GLAND WITH LOCKNUT AND WASHER, SIZE: PG36, APPROX. INNER DIAMETER: 43mm, COLOR: BLACK. | EA | 50 |
| 09 | 1600008464/90 | HY7433299092 | LIQUID TIGHT NYLON CONDUIT GLAND WITH LOCKNUT & WASHER, SIZE: PG48, APPROX. INNER DIAMETER: 55mm COLOR: BLACK. | EA | 50 |
| 10 | 1600008464/100 | HY7433695010 | STANDARD UNSLITTED SELF EXTINGUISHING POLYMIDE-6 FLEXIBLE CONDUIT THREAD TYPE & SIZE: PG7, APPROX OUTER DIAMETER: 10mm, APPROX INNER DIAMETER:6.5mm, COLOR: BLACK AND COMPLY WITH EN 60529 AND IEC 61386 | EA | 100 |
| 11 | 1600008464/110 | HY7433695028 | STANDARD UNSLITTED SELF EXTINGUISHING POLYMIDE-6 FLEXIBLE CONDUIT THREAD TYPE & SIZE: PG9,OUTER DIAMETER: 13mm, INNER DIAMETER:10mm, COLOR: BLACK AND COMPLY WITH EN 60529 AND IEC 61386 | EA | 100 |
| 12 | 1600008464/120 | HY7433695036 | STANDARD UNSLITTED SELF EXTINGUISHING POLYMIDE-6 FLEXIBLE CONDUIT THREAD TYPE & SIZE: PG11, APPROX OUTER DIAMETER: 16MM, APPROX INNER DIAMETER:12MM, COLOR: BLACK AND COMPLY WITH EN 60529 AND IEC 61386 | EA | 100 |
| 13 | 1600008464/130 | HY7433695044 | STANDARD UNSLITTED SELF EXTINGUISHING POLYMIDE-6 FLEXIBLE CONDUIT THREAD TYPE & SIZE: PG16, APPROX OUTER DIAMETER: 21mm, APPROX INNER DIAMETER: 16mm, COLOR: BLACK AND COMPLY WITH EN 60529 AND IEC 61386 | EA | 100 |
| 14 | 1600008464/140 | HY7433695052 | STANDARD UNSLITTED SELF EXTINGUISHING POLYMIDE-6 FLEXIBLE CONDUIT THREAD TYPE & SIZE: PG21, APPROX OUTER DIAMETER: 29mm, APPROX INNER DIAMETER:22mm, COLOR: BLACK AND COMPLY WITH EN 60529 AND IEC 61386 | EA | 100 |
| 15 | 1600008464/150 | HY7433695060 | STANDARD UNSLITTED SELF EXTINGUISHING POLYMIDE-6 FLEXIBLE CONDUIT THREAD TYPE & SIZE: PG29, APPROX OUTER DIAMETER: 35mm, APPROX INNER DIAMETER:28MM, COLOR: BLACK AND COMPLY WITH EN 60529 AND IEC 61386 | EA | 100 |
| 16 | 1600008464/160 | HY7433695079 | STANDARD UNSLITTED SELF EXTINGUISHING POLYMIDE-6 FLEXIBLE CONDUIT THREAD TYPE & SIZE: PG36, APPROX OUTER DIAMETER: 43mm, APPROX INNER DIAMETER:36mm, COLOR: BLACK AND COMPLY WITH EN 60529 AND IEC 61386 | EA | 100 |
| 17 | 1600008464/180 | HY7433298010 | GLAND SIZE: 20mm FOR SUITABLE TO 4CORE& 4 SQ.MM INDUSTRIAL ARMORED CABLE WITH THE FOLLOWING ACCESSORIES: A. LOCK NUTS B. EARTH TAGS C. SEALING WASHERS | EA | 20 |
| 18 | 1600008464/190 | HY7433298029 | GLAND SIZE: 25 FOR SUITABLE TO 4CORE& 10 SQ.MM INDUSTRIAL ARMORED CABLE WITH THE FOLLOWING ACCESSORIES: A. LOCK NUTS B. EARTH TAGS C. SEALING WASHERS | EA | 20 |
| 19 | 1600008464/200 | HY7433298037 | GLAND SIZE: 32 FOR SUITABLE TO 3 1/2 CORE& 35/50 SQ.MM INDUSTRIAL ARMORED CABLE WITH THE FOLLOWING ACCESSORIES: A. LOCK NUTS B. EARTH TAGS C. SEALING WASHERS | EA | 50 |
| 20 | 1600008464/210 | HY7433298045 | GLAND SIZE: 40 FOR SUITABLE TO 3 1/2 CORE& 70 SQ.MM INDUSTRIAL ARMORED CABLE WITH THE FOLLOWING ACCESSORIES: A. LOCK NUTS B. EARTH TAGS C. SEALING WASHERS | EA | 50 |
| 21 | 1600008464/220 | HY7433298053 | GLAND SIZE: 50 FOR SUITABLE TO 3 1/2 CORE& 95/120 SQ.MM INDUSTRIAL ARMORED CABLE WITH THE FOLLOWING ACCESSORIES: A. LOCK NUTS B. EARTH TAGS C. SEALING WASHERS | EA | 50 |
| 22 | 1600008464/230 | HY7433298061 | GLAND SIZE: 63 FOR SUITABLE TO 3 1/2 CORE& 185/240 SQ.MM INDUSTRIAL ARMORED CABLE WITH THE FOLLOWING ACCESSORIES: A. LOCK NUTS B. EARTH TAGS C. SEALING WASHERS | EA | 50 |
| 23 | 1600008464/240 | HY7433298070 | GLAND SIZE: 75 FOR SUITABLE TO 3 1/2 CORE& 300 SQ.MM INDUSTRIAL ARMORED CABLE WITH THE FOLLOWING ACCESSORIES: A. LOCK NUTS B. EARTH TAGS C. SEALING WASHERS | EA | 50 |
| 24 | 1600008464/250 | HYN743330086 | STAINLESS STEEL FLEXIBLE CONDUIT 1/2" ID (12MM) | EA | 100 |
| 25 | 1600008464/260 | HYN743330089 | STAINLESS STEEL FLEXIBLE CONDUIT 1" ID (25MM) | EA | 100 |
| 26 | 1600008464/290 | HY7433695095 | STANDARD UNSLITTED SELF EXTINGUISHING POLYMIDE-6 FLEXIBLE CONDUIT THREAD TYPE & SIZE: PG13, APPROX OUTER DIAMETER: 18.5mm, APPROX INNER DIAMETER: 14mm, COLOR: BLACK AND COMPLY WITH EN 60529 AND IEC 61386 | EA | 100 |
| 27 | 1600008464/300 | HY7433695087 | STANDARD UNSLITTED SELF EXTINGUISHING POLYMIDE-6 FLEXIBLE CONDUIT THREAD TYPE & SIZE: PG48, APPROX OUTER DIAMETER: 55mm, APPROX INNER DIAMETER:47mm, COLOR: BLACK AND COMPLY WITH EN 60529 AND IEC 61386 | EA | 100 |

| REMARKS: 1) THIS ENQUIRY IS IN TWO PART BID SYSTEM. 2) GCC & ITB ARE ENCLOSED. 3) Offer shall be evaluated on item wise L1 basis. For evaluating offers item wise destination cost shall be taken into consideration. 4) Please send your valid offer/ regret letter /signed and stamped on or before 01.04.2016 without fail. Tenders should reach before 10:00 Hrs. Tenders will be opened at 13:00 Hrs. 5) Offers should be submitted to the below address:- To, DGM/CMM, Supplier Development cell Vendor Complex, BHEL- R.C.Puram Hyderabad ,Telangana. 6) Offers must be sent in a sealed cover on which tender enquiry number and the due date shall be super scribed and sent by appropriate mode to above address or dropped in tender box located at vendor complex on or before the specified time of submission of offers, preferably in the bidder's envelope. 7) Bidder can also submit offer through email at his own risk. The offer to be submitted in two parts. Technical offer to be submitted to technicalbid@bhelhyd.co.in, and price bid to be submitted to pricebid@bhelhyd.co.in. Interchanging the information in the mails may lead to rejection of the offer. Supplier shall have no claim on e-mail offers sent on any other e-mail ID. BHEL is no way responsible for non-receipt of offers sent thru email due to server break down / Internet failure / transmission error etc. In case of e-mail offers, the mail subject should contain Enquiry No., Due date and Supplier name. Supplier address including contact details shall be mentioned in the content of the mail. Without these details offer may be liable for rejection. | TEST CERTIFICATE REQ:YES GUARANTEE RAQ:YES SAMPLE REQ: NO | FOR AND ON-BEHALF OF BHARAT HEAVY ELECTRICALS LIMITED K. SREENU PUR. OFFICER /PUR/CMM |
| --- | --- | --- |