Annexure:  Switch Fuse Units /   mpr No    ERN /  07-08 / 47   Indent No 79978

- Separate arcing & current carrying zone.

- Wall mounting type suitable for vertical & horizontal operation

- With on / off indication Sheet steel enclosure to permit 180 ۫ opening of the door.

- Handle coupling unit with auto restorable door interlock. Conform IS 8623.

- Complete assembled and provided with the fuse links.