## ANNEXURE-A-INDIAN BIDDERS
PRICE FORMAT FOR INDIAN BIDDERS (Annexure-A) | [13 empty] | Doc No: | PE-PF-425-554-A001
[14 empty] | Rev No: | 0
[14 empty] | Date of issue | 17.04.18
NAME OF PROJECT: |  | 2X800 MW TANGEDCO UPPUR TPP BTG
NAME OF PACKAGE: |  | VENTILATION PACKAGE
TECHNICAL SPECIFICATION: |  | PE-TS-425-554-A001
ENQUIRY NO. |  | Enq. No.: PE/PG/NTP/E-5919/2018 Dt. 20.04.2018
[7 empty] | SUPPLY |  |  |  |  | E&C |  |  | Total Price (Main Supply Mandatory Spares+ Freight+ E&C) Excluding GST INR | Total price in words
S. No. | Description |  | HSN / SAC CODE | UNIT | QTY | Unit Ex-works duly packed (INR) | Total Ex-works duly packed (INR) | Type of GST (IGST/CGST + SGST/UTGST) | Freight % of Total Ex-works | Freight in INR | Total FOR site price excluding GST (INR) | Unit E&C Price (INR) | Total E&C Price (INR) | Type of GST (IGST/CGST + SGST/UTGST)
Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for Supply part, Services part and Mandatory spares comprising of design (i.e.preparation and submission of drawing /documents including “As Built” drawings and O&M manuals), engineering, manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles fill of lubricants & consumables, mandatory spares alongwith spares for erection, startup and commissioning as required, forwarding, proper packing, shipment and delivery at site, unloading, handling, transportation & storage at site, in-site transportation, assembly, erection & commissioning, final painting at site, minor civil work, trial run at site, preperation of layout drawings 3D (as applicable) and carrying out Performance guarantee / Functional / Demonstration tests at site, training of customer/client O&M staff and handover in flawless condition of the package to the end customer complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order.
1 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for Supply part comprising of design (i.e.preparation and submission of drawing /documents including “As Built” drawings and O&M manuals), engineering, manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles, fill of lubricants & consumables alongwith spares for erection as required, startup and commissioning spares as required, forwarding, proper packing, shipment and delivery at site, preperation of layout drawings 3D (as applicable) for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order.(Break-up as per Annexure-I) |  | 8414 59 30 | Lot | 1 | 0 | 0 |  |  | 0 | 0 | NA |  |  | 0 | -
2 | Total lumpsum firm prices inclusive of all prevailing taxes, duties and other levies for Services part comprising of service part for unloading, handling, transportation & storage at site, in-site transportation, assembly, erection & commissioning, final painting at site, minor civil work, trial run at site and carrying out Performance guarantee / Functional / Demonstration tests at site, training of customer/client O&M staff and handover in flawless condition of the package to the end customer complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. (Break-up as per Annexure-I) |  | 995463 | Lot | 1 |  | NA |  |  |  |  | 0 | 0 |  | 0 | -
3 | Total lumpsum firm price inclusive of all prevailing taxes, duties and other levies for Mandatory spares comprising of manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, forwarding, proper packing, shipment, delivery at site & guarantee as per tender technical specification above, amendment & agreements till placement of order. (Price break up of mandatory spares is to be furnished as per Annexure- II) |  | 8414 90 90 | Lot | 1 | 0 | 0 |  |  | 0 | 0 | NA |  |  | 0 | -
TOTAL | [6 empty] | 0 |  |  |  | 0 | 0 | 0 |  | 0 | -
Note: 1. Prices shall be firm unless otherwise specifically indicated in NIT. 2. CGST/SGST/UGST/IGST shall be paid at actuals against documentary evidence subjected to the maximum of GST corresponding to above HSN/SAC code. 3. Evaluation shall be done one the basis of total lump sum prices for complete supply and services but excluding GST. 4. Vendor to quote prices in words also. 5. Nature of GST on Services at project site shall not be allowed to change after bidding. 6. Freight percentage (%) with respect to total Ex-Works (Main Supply +Mandatory Spares) will be considered @ 2.79%, If bidder will not quote freight in % or mentioned included / FOC / NIL. In case of included / FOC / NIL freight component @2.79% will be derived from quoted Total Ex-works price. 7. Breakup of prices in annexure-I, II, Appendix-i & II are for information only. Evaluation shall be done on quoted price in annexure-A only. If mismatch (calculation mistake) in breakup will be found then breakup will be adjusted with respect to quoted price in annexure-A.
Particulars of bidder / authorised representative
Name | Designation | Signature | Date | Company Seal
2.2 | Total lumpsum on FOR basis inclusive of all prevailing taxes, duties and other levies for SUPPLY OF MANDATORY SPARES (as per ANNEXURE - I) and as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order.

## ANNEXURE-A-FOREIGN BIDDERS
PRICE FORMAT FOR FOREIGN BIDDERS (Annexure-A) | [15 empty] | Doc No:
Rev No:
Date of issue
NAME OF PROJECT: |  | 2X800 MW TANGEDCO UPPUR TPP BTG
NAME OF PACKAGE: |  | VENTILATION PACKAGE
TECHNICAL SPECIFICATION: |  | PE-TS-425-554-A001
ENQUIRY NO. |  | Enq. No.: PE/PG/NTP/E-5919/2018 Dt. 20.04.2018
[6 empty] | Imported content |  |  | Indigenous content | [5 empty] | E&C
S. No. | Description |  | HSN / SAC CODE | UNIT | QTY | Total C & F -PRICE (Currency) | Custom Duty INR after availing input tax credit (INR) | Inland Freight (INR) | Total Ex-works duly packed (INR) | Type of GST (IGST/CGST + SGST/UTGST) | Freight % of Total Ex-works | Freight in INR | Total for Indigenous content (INR) | Total price in words | Total E&C Price (INR) | Type of GST (IGST/CGST + SGST/UTGST) | Total price in words
Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for Supply part, Services part and Mandatory spares comprising of design (i.e.preparation and submission of drawing /documents including “As Built” drawings and O&M manuals), engineering, manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles fill of lubricants & consumables, mandatory spares alongwith spares for erection, startup and commissioning as required, forwarding, proper packing, shipment and delivery at site, unloading, handling, transportation & storage at site, in-site transportation, assembly, erection & commissioning, final painting at site, minor civil work, trial run at site, preperation of layout drawings 3D (as applicable) and carrying out Performance guarantee / Functional / Demonstration tests at site, training of customer/client O&M staff and handover in flawless condition of the package to the end customer complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order.
1 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for Supply part comprising of design (i.e.preparation and submission of drawing /documents including “As Built” drawings and O&M manuals), engineering, manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles, fill of lubricants & consumables alongwith spares for erection as required, startup and commissioning spares as required, forwarding, proper packing, shipment and delivery at site, preperation of layout drawings 3D (as applicable) for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order.(Break-up as per Annexure-I) |  | 8414 59 30 | Lot | 1 | 0 |  |  | 0 |  |  | 0 | 0 | - | NA
2 | Total lumpsum firm prices inclusive of all prevailing taxes, duties and other levies for Services part comprising of service part for unloading, handling, transportation & storage at site, in-site transportation, assembly, erection & commissioning, final painting at site, minor civil work, trial run at site and carrying out Performance guarantee / Functional / Demonstration tests at site, training of customer/client O&M staff and handover in flawless condition of the package to the end customer complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. (Break-up as per Annexure-I) |  | 995463 | Lot | 1 | NA | [8 empty] | 0 |  | -
3 | Total lumpsum firm price inclusive of all prevailing taxes, duties and other levies for Mandatory spares comprising of manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, forwarding, proper packing, shipment, delivery at site & guarantee as per tender technical specification above, amendment & agreements till placement of order. (Price break up of mandatory spares is to be furnished as per Annexure- II) |  | 8414 90 90 | Lot | 1 | 0 |  |  | 0 |  |  | 0 | 0 | - | NA
Total | [5 empty] | 0 |  |  | 0 |  |  | 0 | 0 |  | 0 |  | -
Note: 1. Prices shall be firm unless otherwise specifically indicated in NIT. 2. CGST/SGST/UGST/IGST shall be paid at actuals against documentary evidence subjected to the maximum of GST corresponding to above HSN/SAC code. 3. Evaluation shall be done one the basis of total lump sum prices for complete supply and services but excluding GST. 4. Vendor to quote prices in words also. 5. Nature of GST on Services at project site shall not be allowed to change after bidding. 6. Freight percentage (%) with respect to total Ex-Works (Main Supply +Mandatory Spares) will be considered @ 2.79%, If bidder will not quote freight in % or mentioned included / FOC / NIL. In case of included / FOC / NIL freight component @2.79% will be derived from quoted Total Ex-works price. 7. Breakup of prices in annexure-I, II, Appendix-i & II are for information only. Evaluation shall be done on quoted price in annexure-A only. If mismatch (calculation mistake) in breakup will be found then breakup will be adjusted with respect to quoted price in annexure-A.
Particulars of bidder / authorised representative
Name | Designation | Signature | Date | Company Seal
2.2 | Total lumpsum on FOR basis inclusive of all prevailing taxes, duties and other levies for SUPPLY OF MANDATORY SPARES (as per ANNEXURE - I) and as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order.

## ANNEXURE-I
ANNEXURE-I |  |  | Doc No: | PE-PF-425-554-A001
|  |  | Rev No: | 0
|  |  | Date of issue | 17.04.18
NAME OF PROJECT: |  | 2X800 MW TANGEDCO UPPUR TPP BTG
NAME OF PACKAGE: |  | VENTILATION PACKAGE
TECHNICAL SPECIFICATION: |  | PE-TS-425-554-A001
ENQUIRY NO. |  | Enq. No.: PE/PG/NTP/E-5919/2018 Dt. 20.04.2018
[5 empty] | SUPPLY | [5 empty] | E&C |  | E&C
[5 empty] | INDIAN BIDDERS |  | FOREIGN BIDDERS |  |  |  | INDIAN BIDDERS |  | FOREIGN BIDDERS
S. No. | DESCRIPTION |  | UNIT | QTY |  |  | Imported content |  | Indigenous content
| BREAK-UP OF SUPPLY PRICES GIVEN IN 2.1 OF MAIN SHEET. |  |  |  | Unit Ex-works duly packed (INR) | Total Ex-works duly packed (INR) | Unit C & F - PRICE (Currency) | Total C & F - PRICE (Currency) | Unit Ex-works duly packed (INR) | Total Ex-works duly packed (INR) | Unit E&C | Total E&C | Unit E&C | Total E&C
1 | "Sheet metal type air washer unit with centrifugal fan (DIDW) with motor, pumps with motors, filters, air washer internals, inlet air louvers, piping as per IS:1239, Part-I (heavy class galvanised), valves, nozzles, back wash arrangement, galvanised drain piping, etc as per specification of capacity 300000 CMH. Each air washer has 2 no centrifugal fan ( 2 x 50% duty) of capacity 1,50,000 CMH at min. 90 mm SP. Each centrifugal fan shall be provided with VFD driven motor alongwith VFD and other accessories as required for VFD shall also be included in the price." |  | 8 | NO |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2 | "Unitary air filtration unit with centrifugal fan with motor, pumps with motors, filters, UAF internals, inlet air louvers, piping as per IS: 1239 pt I (heavy class galvanised), valves, nozzles, back wash arrangement, galvanised drain piping etc. as per specification of capacity 95,000 CMH. Each UAF has 1 no centrifugal fan (1 x 100% duty) of capacity 95,000 CMH at min. 75 mmWC SP. Each centrifugal fan shall be provided with VFD driven motor alongwith VFD and other accessories as required for VFD shall also be included in the price." |  | 2 | NO |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
3* | Supply air ducting (finished) for above area complete with dampers, grills (with VCD & without VCD), supports (painted) and all accessories as specified. |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
3.1* | Finished GSS (zinc coating 275 gms/sq.m) Ducting with support structure etc. |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
a)* | 18 G |  | 4600 | SQM* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
b)* | 20 G |  | 4600 | SQM* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
c)* | 22 G |  | 3450 | SQM* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
d)* | 24 G |  | 4600 | SQM* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
3.2* | MS Duct With Epoxy paint for battery room. |  | 200 | SQM* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
3.3* | MS Grilles with VCD |  | 230 | SQM* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
3.4* | MS Grilles without VCD |  | 12 | SQM* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
3.5* | Exposed duct insulation with fibre glass insulation as per specifications. |  | 2300 | SQM* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
3.6* | Wall mounted dampers (gravity operated) for different areas. |  | 34.5 | SQM* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
3.7* | Inlet Louvres |  | 60 | SQM* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
3.8* | VOLUME CONTROL DAMPERS in GI construction as per specifications |  | 23 | SQM* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
4* | FIRE DAMPER |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
a)* | Fire damper |  | 30 | SQM* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
b)* | Motorized Actuator with single phase power supply for the above Fire damper with auto resetting, limit switches, indication lamps etc |  | 45 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
c)* | Fusible Link type Fire Damper |  | 20 | SQM* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
5* | Roof extractor units (axial flow type) with hood, disconnect switch and all accessories as specified. Following fan shall have 15 mmwc static pressure. |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
a)* | Capacity 50,000 CMH with Motor rating 5.5 KW |  | 48 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
b)* | Capacity 40,000 CMH with Motor rating 5.5 KW |  | 4 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
c)* | Capacity 20,000 CMH with Motor rating 2.2 KW |  | 2 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
6* | Axial flow supply fans with pre and fine filter (wall mounted) complete with casing, TEFC sq cage induction motors & mounting frame, MS rain protection cowl, bird screen and all other accessories (suitable for 415V/3‐phase supply). Following fan shall have 32 mmwc static pressure. |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
a)* | Capacity 10,000 CMH with Motor rating 2.2 KW |  | 8 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
b)* | Capacity 7,500 CMH with Motor rating 1.5 KW |  | 8 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
c)* | Capacity 6,000 CMH with Motor rating 1.1 KW |  | 16 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
d)* | Capacity 4,000 CMH with Motor rating 0.75 KW |  | 10 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
7* | Axial flow supply fans with pre filter (wall mounted) complete with casing, TEFC sq cage induction motors & mounting frame, MS rain protection cowl, bird screen and all other accessories (suitable for 415V/3‐phase supply) as specified. Following fan shall have 20 mmwc static pressure. |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
a)* | Capacity 10,000 CMH with Motor rating 1.5 KW |  | 12 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
b)* | Capacity 7,500 CMH with Motor rating 1.1 KW |  | 12 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
c)* | Capacity 6,000 CMH with Motor rating 1.1 KW |  | 4 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
d)* | Capacity 4,000 CMH with Motor rating 0.75 KW |  | 4 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
8* | Axial flow exhaust fans (Bifurcated type, spark proof construction, wall mounted) complete with casing, flame proof motor & mounting frame, MS rain protection cowl, bird screen and all other accessories epoxy painted (suitable for 415V/3‐phase supply) as specified. Following fan shall have 15 mmwc static pressure. |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
a)* | Capacity 15,000 CMH with Motor rating 2.2 KW |  | 5 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
b)* | Capacity 10,000 CMH withMotor rating 1.5 KW |  | 8 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
c)* | Capacity 7,500 CMH with Motor rating 1.1 KW |  | 6 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
d)* | Capacity 4,000 CMH with Motor rating 0.55 KW |  | 4 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
e)* | Capacity 2,000 CMH with Motor rating 0.55 KW |  | 6 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
9* | Axial flow exhaust fans (Wall mounted) complete with casing,TEFC sq cage induction motor & mounting frame, MS rain protection cowl, bird screen and all other accessories epoxy painted (suitable for 415V/3‐phase supply) as specified.Following fan shall have 10 mmwc static pressure. |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
a)* | Capacity 15,000 CMH with Motor rating 1.1 KW |  | 12 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
b)* | Capacity 10,000 CMH with Motor rating 0.75 KW |  | 5 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
c)* | Capacity 7,500 CMH with Motor rating 0.55 KW |  | 5 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
d)* | Capacity 6,000 CMH with Motor rating 0.55 KW |  | 20 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
e)* | Capacity 4,000 CMH with Motor rating 0.55 KW |  | 5 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
f)* | Capacity 2,000 CMH with Motor rating 0.37 KW |  | 5 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
10* | Exhaust fan (propeller type) completes with induction motor & mounting frame MS rain protection cowl, bird screen and all other accessories as specified (suitable for 240V/ 1 phase). Following fan shall have 5 mmwc static pressure. |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
a)* | Capacity 1200 CMH with Motor rating 100 watts |  | 75 | Nos.* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
11* | Handling arrangement for Ventilation equipments |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
(a)* | Manually operated, platform trolley of 1 Ton capacity with base area 2m x 1.5m |  | 2 | NO* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
(b)* | 1T Chain pulley block with travelling trolley |  | 8 | NO* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
(c)* | 1T Chain pulley block without travelling trolley |  | 2 | LOT |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
12 | Total lumpsum price for special tools & tackles for maintenance inclusive of packing forwarding, transportation up to site, etc. (Bidder shall submit item‐wise price break‐up‐As per Appendix A). |  | 1 | LOT | 0 | 0 | 0 | 0 | 0 | 0 | NA |  | NA
13 | Total lumpsum price for commissioning spares inclusive of packing forwarding, transportation up to site, etc. (Bidder shall submit item‐wise price break‐up‐As per Appendix B). |  | 1 | LOT | 0 | 0 | 0 | 0 | 0 | 0 | NA |  | NA
14 | Cable tray, condutes, junction box, Local control panel and Field instruments like pressure gauge, temperature gauge, temperature and pressure transmitters, DP transmitters, flow transmitters, flow indicator, etc. as required for the complete system |  | 1 | LOT |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
16 | Paint |  | 1 | LOT |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
17* | NON CHEMICAL SCALE INHIBITOR |  | 10 | sets* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
18 | Any other item not indicated above, but required to make the system complete in all respects. |  | 1 | LOT |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
TOTAL |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NOTES | [12 empty] | `
1 | The bidder shall furnish unit rates for variable item (marked *) for necessary adjustment (plus or minus) variation during detailed engg. stage. The unit rates quoted above shall be considered and no separate unit rates shall be quoted. Unit rates shall be valid throughout the contract.
2 | Any other item not indicated above, but required to make the system complete in all respects, as per the technical specification, shall be supplied without any cost implication to BHEL.
3 | Any cell left blank in the unpriced schedule shall be treated as “Quoted” and is included in total price.
Particulars of bidder / authorised representative
Name | Designation | Signature | Date | Company Seal
2.2 | Total lumpsum on FOR basis inclusive of all prevailing taxes, duties and other levies for SUPPLY OF MANDATORY SPARES (as per ANNEXURE - I) and as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order.

## MANDATORY SPARES
ANNEXURE-II |  |  | Doc No: | PE-PF-425-554-A001
|  |  | Rev No: | 0
|  |  | Date of issue | 17.04.18
NAME OF PROJECT: |  | 2X800 MW TANGEDCO UPPUR TPP BTG
NAME OF PACKAGE: |  | VENTILATION PACKAGE
TECHNICAL SPECIFICATION: |  | PE-TS-425-554-A001
ENQUIRY NO. |  | Enq. No.: PE/PG/NTP/E-5919/2018 Dt. 20.04.2018
[5 empty] | INDIAN BIDDERS | FOREIGN BIDDERS
S. No. | DESCRIPTION |  | UNIT | QTY |  | Imported content | Indigenous content
| EQUIPMENT / PACKAGE |  |  |  | Total Ex-works duly packed (INR) | Total C & F - PRICE (Currency) | Total Ex-works duly packed (INR)
Ventilation system
A | Mechanical
1 | Centrifugal fans
A) | V-belts | 2 sets of each type
B) | Blower bearing sets | 2 sets of each type
C) | Blower motor bearings | 2 sets of each type
D) | Seal gasket and other wear | 2 sets of each type
out parts in sets
E) | Vibration isolators | 2 sets of each type
2 | Axial fans
A) | Fan bearings | 2 sets of each type
B) | Fan motor bearing | 2 sets of each type
C) | Dry filters | 2 sets of each type and size
3 | Air washer system
A) | Water strainers | 2 sets of each size
B) | Spray nozzles | 2 sets of each size
C) | Water repellent type filters | 2 sets of each size
4 | Horizontal centrifugal pump
A) | Impeller for each of pump set | 2 sets of each type
B) | Bearings | 2 sets of each type
C) | Shaft sleeves | 2 sets of each type
D) | Bearings motor | 2 sets of each type
Control and Instrumentation
1.00.01 | Measuring and Field Instruments |  | The quantity of mandatory spares indicated herein shall be as per package basis
1.00.01.01 | Indicators, Recorders, Electrical
Metering and Skid Mounted Instruments
(i) | Indicators, recorders and meters offered from each model for the project. These instruments shall be supplied with three sets of blank scales. | Nos. | 10 % of Installed of each type/Model or a minimum of one number for each model and type, whichever is more.
(ii) | For skid mounted instruments | Nos. | 10% of total number of instruments, valves, C&I equipment, C&I item etc. for each Type and model or a minimum of one number for each model and type, whichever is more.
1.00.01.03 | Temperature Transmitters and Electronic Transmitters (For Pressure, DP, Temp, Flow, Level), Process Transmitters, Level & Flow Transmitter for each type, Rota meters, Sight Flow indicators, Temperature, Pressure, Flow & Level Switch, safety & Protection switches, Gauges, Process meters, Junction Boxes, Position Transmitters/switches, Analysers, Transd other Transducer or any other instrument etc. | Nos. | i.) 10% of total number of each item offered for each model and type for the project or a minimum of one number, whichever is more.
ii.) 10% of Electronic card/PCB assembly and power supply card/module for each type, model & rating of Transmitter, analysers & Flow Meters.
1.00.02 | Distributed Control System and Other Electronic Systems/Sub-Systems/ DDCMIS/DCS/PLC/VMS/MIS/LAN/VFD/Si mulator, Video conferencing System, Microprocessor based control system and any other system as supplied as per NIT etc. -
1.00.02.01 | (Power supply, Electronic modules (of input, output, processor, memory, I/O adapter, processor interface, communication types) | Nos | 10% of number for each type or minimum of 2 number for each type, model and rating whichever is high.
1.00.02.02 | Auto/Manual stations, set-point/bias stations, Push Buttons, Fire safety trip Push Buttons, Emergency trip Push buttons etc | Nos. | 10% of the number of stations offered for the project from each type or a minimum of 2 number from each model, whichever is more.
1.00.02.03 | Control logic power supply, fuses, MCB,MCCB, at each current rating required for the project. | Nos. | 20% spare for each type/Model or a minimum of 2 number from each type/model, whichever is more.
1.00.02.04 | Electronic cards of each type used for each type of Servers supplied with any control system | Nos. | Ten (10) percent or 2 no. (Whichever is more)
1.00.04 | Relay based Control Panels
1.00.04.01 | LEDs for indicating lights | Nos. | 100% of qty installed.
1.00.04.02 | Control circuit fuses/ | Nos. | 300% of installed of each type, current rating.
1.00.04.03 | Relays modules & contactors. | Nos. | 20% spare of qty Installed of each type & rating.
1.00.04.04 | MCB/MCCB of each current rating | Nos. | Ten percent of each current rating required
1.00.04.05 | Cooling Fans of each type, model and rating. | Nos. | 20% or 2 nos. of each type and rating, (whichever is more).
1.00.04.06 | Push buttons, ILPBs | Nos. | Ten (10) percent or 2 nos (whichever is more) of each type.
1.00.04.07 | Electric meter. | Nos. | Ten (10) percent or 2 nos (whichever is more) of each type
1.00.04.08 | Power supply modules. | Nos. | Ten (10) percent or 2 nos (whichever is more) of each type
1.00.05 | Alarm Annunciation System
1.00.05.01 | logic modules, group card modules, power supply modules, Hooters and any other electronic module. | Nos. | 20% spares of each type installed
1.00.05.02 | un-engraved window boxes complete with LED etc. | Nos. | 5% spares of each size installed
1.00.05.03 | LEDs for annunciation facia windows and LEDs box assemblies offered for the project | Nos. | 20% of qty installed
1.00.05.04 | Annunciator hooter | Nos. | One (1) No. of each type
1.00.07 | Erection hardware
1.00.07.01 | Instrument valves, manifold, fittings, impulse pipe, impulse tubes, drains pipes, | Nos. | Ten (10) percent of each type, rating, model number & Size installed
1.00.07.02 | Condensate pots of each type, rating , model no. & Size installed | Nos. | Ten (10) percent of total number of Installed or four numbers whichever is higher .
1.00.07.03 | Manifold | Nos. | Ten (10) percent of each type & Size installed
1.00.07.04 | Fittings | Nos. | Ten (10) percent of each type & Size installed
1.00.07.05 | MCB, and Power sockets used in LIE/LIR. |  | Ten (10) percent of each type.
1.00.07.06 | Fuses used in LIE/LIR. |  | Fifty (50) percent of each type.
1.00.07.07 | Electric meter. | Nos. | Ten (10) percent or 2 nos (whichever is more) of each type
1.00.07.08 | Power supply modules. | Nos. | Ten (10) percent or 2 nos (whichever is more) of each type
1.00.13 | Mandatory Spares for Solenoid valves, Control valves, Power Cylinder, Control Da mpers, Actuators, Flow Elements and Accessories
(A) | Following spares shall be furnished for control valves, Power Cylinder, Control Dampers as applicable.
e. | Limit switches |  | 2 sets of limit switches
h. | Actuator |  | One of each type or min 10% for each type and size whichever is more.
g) | Solenoid valves. |  | 20 percent or min 10 no. of each type & model for total qty. (whichever is more)
1.00.15 | Mandatory spares not covered above
| Sensor/instrument, analysers /special instruments/Electronic card, instrumentation/mechanical fittings etc. for any other electronic system, feeder control cabinets, hydrastep (EWLI), CCTV, C&I Lab Instruments, On line Carbon in Ash analyser system, On line Coal mass flow/speed measurement system, On line secondary air flow measurement system Mass Flow meter, Solid flow meter ,3 D Acoustic type level transmitters, Nucleonic & non nucleonic density transmitter, Chemical dosing system, O2 dosing system, Station LAN, MIS, mercury analyser, Viscosity meter, Hydrogen In |  | 10% or 1 no. (whichever is more) of each type.
TOTAL |  |  |  |  | 0 | 0 | 0
NOTES
a) Mandatory spares listed in Price Schedule is bare minimum requirement. In case any additional mandatory spares requirement is covered elsewhere in the tender specification apart from specified above, same shall be deemed to have been covered in bidder’s scope of supply. b) “One (1) Set” and “One (1) set of each type & rating” is defined as total numbers as required for one complete replacement for one equipment of similar size & capacity. (Definition of set to be verified by DE with contract and then to be included in specification / EMOM) c) All mandatory spares shall be supplied as per the requirement of the specifications. In case any spare indicated in the specification is “not applicable” for particular equipment, then suitable applicable alternate spare has been offered / shall be supplied by the bidder without any financial implication." d) For quantities indicated in percentage, fractions are to be rounded-off to next higher integer. e) Bidder to write “Quoted / Not Applicable” against all items. Any item which is quoted as “not applicable” by the bidder in the above list and is found to be “applicable” at a later date shall be supplied by the bidder without any commercial and delivery implication. f) Any cell left blank in the unpriced schedule shall be treated as “Quoted” and is included in total price.
Particulars of bidder / authorised representative
Name | Designation | Signature | Date | Company Seal
2.2 | Total lumpsum on FOR basis inclusive of all prevailing taxes, duties and other levies for SUPPLY OF MANDATORY SPARES (as per ANNEXURE - I) and as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order.

## APPENDIX -A
APPENDIX-A |  |  | Doc No: | PE-PF-425-554-A001
|  |  | Rev No: | 0
|  |  | Date of issue | 17.04.18
NAME OF PROJECT: |  | 2X800 MW TANGEDCO UPPUR TPP BTG
NAME OF PACKAGE: |  | VENTILATION PACKAGE
TECHNICAL SPECIFICATION: |  | PE-TS-425-554-A001
ENQUIRY NO. |  | Enq. No.: PE/PG/NTP/E-5919/2018 Dt. 20.04.2018
SUPPLY
[5 empty] | INDIAN BIDDERS |  | FOREIGN BIDDERS
S. No. | DESCRIPTION |  | UNIT | QTY |  |  | Imported content |  | Indigenous content
[5 empty] | Unit Ex-works duly packed (INR) | Total Ex-works duly packed (INR) | Unit C & F - PRICE (Currency) | Total C & F - PRICE (Currency) | Unit Ex-works duly packed (INR) | Total Ex-works duly packed (INR)
1 | Measuring tape |  | NO | 1 |  | 0 |  | 0 |  | 0
2 | Tachometer |  | NO | 1 |  | 0 |  | 0 |  | 0
3 | Double ended spanner |  | SET | 1 |  | 0 |  | 0 |  | 0
4 | Ring spanners |  | SET | 1 |  | 0 |  | 0 |  | 0
5 | Gasket punch |  | NO. | 1 |  | 0 |  | 0 |  | 0
6 | Center punch |  | NO. | 1 |  | 0 |  | 0 |  | 0
7 | Hammer with wooden handles |  | NO. | 1 |  | 0 |  | 0 |  | 0
8 | Scissors for sheet metal cutting |  | NO. | 1 |  | 0 |  | 0 |  | 0
9 | Torch light (suitable for 2 cells) |  | NO. | 1 |  | 0 |  | 0 |  | 0
10 | Multimeter |  | NO. | 1 |  | 0 |  | 0 |  | 0
11 | Anemometer |  | NO. | 1 |  | 0 |  | 0 |  | 0
12 | Compound pressure gauge |  | NO. | 1 |  | 0 |  | 0 |  | 0
13 | Slide wrench 8” |  | NO. | 1 |  | 0 |  | 0 |  | 0
14 | Slide wrench 10” |  | NO. | 1 |  | 0 |  | 0 |  | 0
15 | Slide wrench 6” |  | NO. | 1 |  | 0 |  | 0 |  | 0
16 | Box spanner set |  | SET | 1 |  | 0 |  | 0 |  | 0
17 | Screw driver set |  | SET | 1 |  | 0 |  | 0 |  | 0
18 | Align key set |  | SET | 1 |  | 0 |  | 0 |  | 0
19 | MS tool box |  | NO | 1 |  | 0 |  | 0 |  | 0
TOTAL | [5 empty] | 0 | 0 | 0 | 0 | 0
NOTES
1 | ABOVE IS THE MINIMUM LIST. ANY OTHER TOOL / TACKEL REQUIRED FOR THE SYSTEM SHALL ALSO BE PROVIDED BY THE VENDOR WITHOUT ANY COST IMPLICATION.
Particulars of bidder / authorised representative
Name | Designation | Signature | Date | Company Seal
2.2 | Total lumpsum on FOR basis inclusive of all prevailing taxes, duties and other levies for SUPPLY OF MANDATORY SPARES (as per ANNEXURE - I) and as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order.

## APPENDIX -B
APPENDIX-B |  |  | Doc No: | PE-PF-425-554-A001
|  |  | Rev No: | 0
|  |  | Date of issue | 17.04.18
NAME OF PROJECT: |  | 2X800 MW TANGEDCO UPPUR TPP BTG
NAME OF PACKAGE: |  | VENTILATION PACKAGE
TECHNICAL SPECIFICATION: |  | PE-TS-425-554-A001
ENQUIRY NO. |  | Enq. No.: PE/PG/NTP/E-5919/2018 Dt. 20.04.2018
SUPPLY
[5 empty] | INDIAN BIDDERS |  | FOREIGN BIDDERS
S. No. | DESCRIPTION |  | UNIT | QTY |  |  | Imported content |  | Indigenous content
[5 empty] | Unit Ex-works duly packed (INR) | Total Ex-works duly packed (INR) | Unit C & F - PRICE (Currency) | Total C & F - PRICE (Currency) | Unit Ex-works duly packed (INR) | Total Ex-works duly packed (INR)
1 | FAN BELTS |  | SET | 1 |  | 0 |  | 0 |  | 0
2 | PRESSURE GAUGE |  | NO | 1 |  | 0 |  | 0 |  | 0
3 | TEMPERATURE GAUGE |  | NO | 1 |  | 0 |  | 0 |  | 0
4 | FILTER |  | SET | 1 |  | 0 |  | 0 |  | 0
TOTAL |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
NOTES
1 | ABOVE IS THE MINIMUM LIST. ANY OTHER TOOL / TACKEL REQUIRED FOR THE SYSTEM SHALL ALSO BE PROVIDED BY THE VENDOR WITHOUT ANY COST IMPLICATION.
Particulars of bidder / authorised representative
Name | Designation | Signature | Date | Company Seal
2.2 | Total lumpsum on FOR basis inclusive of all prevailing taxes, duties and other levies for SUPPLY OF MANDATORY SPARES (as per ANNEXURE - I) and as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order.